[image: image113.jpg]





 OCTE Emphasis Course Resources


Broad Based Technology:
Construction Technology

Area of Emphasis:

Electrical/Network Cabling
TCE3E/TCE4E 

Other Applicable Emphasis Courses in Construction Technology:
	TCS3C

TCY3C

TCC3E

TCE3E

TCH3E

TCM3E

TCP3E

TCS4C

TCY4C

TCC4E

TCE4E

TCH4E

TCM4E

TCP4E
	Construction Engineering Technology: Construction Management and Science

Construction Engineering Technology: Civil Engineering - Not developed (*ND)
Construction Technology: Carpentry

Construction Technology: Electrical/Network Cabling

Construction Technology: Heating and Cooling – Not developed (*ND)
Construction Technology: Masonry -  Not developed (*ND)
Construction Technology: Plumbing -  Not developed (*ND)
Construction Engineering Technology: Construction Management and Science

Construction Engineering Technology: Civil Engineering - Not developed (*ND)
Construction Technology: Carpentry

Construction Technology: Electrical/Network Cabling

Construction Technology: Heating and Cooling - Not developed (*ND)
Construction Technology: Masonry - Not developed (*ND)
Construction Technology: Plumbing -  Not developed (*ND)


Revision July 2014
[image: image114.jpg]



This resource was produced
 by the Ontario Council for Technological Education (OCTE)
 In support by the Ministry of Education
 It may be used in its entirety, in part, or adapted.

Table of Contents

1Disclaimer


2SECTION 1: GENERAL


2Safe Activity Foundation in Education: Construction


3Usage of the OCTE Emphasis Course Resources


3Responsibilities for Safety


4Delegating the Responsibilities for Safety


5Safety Perspective Overview


5Health And Safety Resources And Curriculum


5Classroom Safety Resources


5Equipment And Hazard-Specific Safety Rules


5Safety Management


6Safety Topics For The Classroom


6Communication


7Additional Examples And Safety Expectations


10Internet Acceptable Use Agreement Form


11Construction Student Conduct Agreement


11Safety Awareness


12Student Conduct Agreement


13SECTION 2: SAFETY DATA SHEETS


13Section Overview


14Chemical Handling


15Electrical Hazards


16Wiring Board/Structure Projects & Diagrams Student Guidelines


17Wiring Board/Structure Projects & Diagrams Student Guidelines Cont’d


18Wiring Board Installation Guidelines


19Wiring Board Installation Guidelines Cont’d


20Lockout Procedure Reference Sheet


21Ladder Safety


22Electrical Current Safety


23Cable Use


24Programmable Logic Controllers


25Plc Safety Quiz


26Robotics


27Robotics Safety Quiz


28Cnc Machine


29Cnc Router


30Cnc Router Quiz


31Facility Emergency Procedures


32Fall Protection


33Facility Fire Extinguishers


34First Aid


35First Aid Kits


36General Housekeeping


37Lifting


38Whmis Regulations


39Whmis Labels


40Msds Safety Labels


41General Shop Safety Rules


42General Shop Safety Quiz


43Hand Tools


44Hand Tool Quiz


45General Machine Safety Rules


46Mitre (Chop) Saw Quiz


47Scroll Saw


48Scroll Saw Quiz


49Drill Press


50Drill Press Quiz


51Band Saw


52Band Saw Quiz


53Table Saw


54Table Saw Quiz


55General - Portable Power Tools


56General – Portable Power Tools Quiz


57General – Cordless Portable Power Tools


58General – Cordless Portable Power Tools Quiz


59Multimeter


60Reciprocating Saw


61Reciprocating Saw Quiz


62Jig Saw


63Jig Saw Quiz


64Circular Saw


66Circular Saw Quiz


67Modeling Knives


68Paints, Sealants And Finishes


69Hand Drill


70Hand Drill Quiz


71SECTION 3: SAFETY ASSIGNMENTS AND TESTS


71Section Overview


72Activity #1 Shop Layout


73Activity #2 – Power Tool Institute ( PTI )


77Activity #3: Machine Equipment and Hand Tool Safety Foldable


78Activity #4: Student Safety Work Sheet


79General Shop Safety Quiz


80SECTION 4: SAFETY PASSPORTS


80Section Overview


81Student Conduct Agreement


82Construction Shop Safety Agreement


83Student Safety Record


84Technology Lab Safety Passport


85Form 1- Teacher Copy


86Form 2: Equipment/Procedure Passport


87Form 3 – Internet Use Passport


88APPENDIX A: HEALTH AND SAFETY RESOURCES


93APPENDIX B: OCTE SAFETYNET BLANK TEMPLATE


93Overview


93Establishing A Safety Binder


94Starting Your SafetyNET


95SafetyNET Lesson Plan


102OCTElab SafetyNET – Materials, Physical Resources Planning Sheet





Disclaimer

This material was designed to assist teachers implement the Ontario Curriculum – Technological Education (revised Grade 10 -12), but is fully adaptable to the Ontario Curriculum Grade 1 – 8 Science and Technology curriculum. This material was created by members of the Ontario Council for Technology Education (OCTE) subject association and is intended as working guides for classroom, lab or shop activities. Permission is given to reproduce these materials for any purpose except profit. Teachers are encouraged to amend, revise, edit and adapt this material for educational purposes. Please acknowledge the source in all uses. Any references in this document to particular to commercial resources, materials or equipment reflect only the opinions of the writers of this material, and do not reflect any official endorsement by the Ontario Council for Technology Education, the Ontario Ministry of Education, or any other agency or government body.

All materials within these safety related documents are to be considered as suggestions and recommendations only.  These are not legal documents and are not to be considered as legal requirements or as official policy. OCTE or the individual contributors makes no claim to the accuracy or the completeness of the enclosed documents and accepts no responsibility for any damages pertaining to their use. Users of this document should not assume all warnings and precautionary measures are contained herein, that additional information or measures are not required, or that local by-laws, regulations or Board policies are explicitly included.

© Ontario Council for Technology Education 2014
	SECTION 1: GENERAL


Safe Activity Foundation in Education:
Construction
In 2013, the SAFEdoc were designed and updated to provide safety data sheets, posters, safety passports, and safety resources for all technology educators. While originally developed as a resource for the Course Profiles, it is available for any grade level or any technology education environment.
 In 2012 another resource called the SafetyNET was created by OCTE with many subject-specific exemplars of exciting student projects that incorporate varying levels of safety risk. Please review exemplar resource documents created ‘by teachers for teachers’ with experienced tips and customization options for your course projects at http://www.octelab.com/.
The SAFEdoc were created for eleven separate disciplines per Ontario Ministry Courses:

	Communications, (COM)
	Hospitality and Tourism (HOST)

	Computer Engineering Technology (CET)
	Manufacturing (MANU)

	Construction, Custom Woodworking (CON)
	Technological Design (DESIGN)

	Green Industries (GREEN)
	Transportation (TRANS)

	Hairstyling and Aesthetics (H&A)
	Exploring Technologies (EXPL)

	Health Care (HC)
	


Please note that due to the cross-curricular nature of Technological Education, there may be a need to refer to other SAFEdocs for cross-discipline data sheets. For example, a Computer Engineering teacher may need to utilize construction and manufacturing equipment or communications technology production equipment, and therefore may need to refer to the CON or COM SAFEdoc. Teachers are encouraged to download ALL SAFEdocs for reference at http://octe.on.ca/> Secondary>OCTElab


This document is a practical safety resource that compliments and elaborates on other recommended resources for technical teachers. See the appendix for linking information such as Live Safe! Work Smart!, the Young Worker’s Awareness Program, and industry associations dedicated to safe working practices.

It is imperative that all students are made aware of the issues of health and safety particular to your class, and that you have assessed and evaluated their understanding before they are allowed to work in a shop environment or on specific procedures or tools. The use of Safety Passports, Safety Agreements, and Safety Tests (provided in this document) is highly recommended. It is also recommended that you look at safety within the project before you move forward (e.g., used flooring being passed through the thickness planer that has floor staples embedded, cutting steel that has a toxic material painted on, etc)

NOTE: While it is important to give students initial safety training and testing at the beginning of the semester, it is also important to practice JIT Safety Training (Just In Time) and to reinforce specific safety procedures and rules each day before initiating new procedures or using equipment. For example, before students use a band saw, review the setup and ask key questions of students before allowing its use.

Usage of the OCTE Emphasis Course Resources

Teachers are encouraged to use and modify this document as they see fit. Individual pages may be directly printed, or custom formatting may be applied for printing any part of the document. General Guidelines may be used in Board or school policy documents. Safety Guidelines may be used as student handouts, as a teacher reference for tests, or printed and mounted as posters around equipment.

The Emphasis Course Resources also contains sample Safety Passports. These can be used as verification that students have been trained and understand the safety aspects of each equipment or procedure they need to use to accomplish their tasks. There are several formats that may be used. Teachers are encouraged to keep consistent records at all times.

See Appendix A for related safety resources, such as Live Safe, Work Smart; the Young Workers Awareness Program, the Ministry of Labour and other organizations dedicated to safe practices.

It is important that teachers are knowledgeable about their own Board and school policies regarding safety, and that they are familiar with local municipal regulations.

Responsibilities for Safety

[from the Ontario Ministry of Education The Ontario Curriculum(Revised)2009, Technological Education, Grades 9 and 10 (page 28); Grade 11 and 12(page 33)] 
Health and safety is of paramount importance in technological education. In every course, students must be made aware that health and safety is everyone’s responsibility at home, at school, and in the workplace. Before using any piece of equipment or any tool, students must be able to demonstrate knowledge of how the equipment or tool works and of the procedures they must follow to ensure its safe use. Personal protective gear must be worn as required.

Classroom practice and all aspects of the learning environment must comply with relevant municipal, provincial, or federal health and safety legislation, including the following:

· the Ontario Workplace Safety and Insurance Act
· the Workplace Hazardous Materials Information System (WHMIS)
· the Food and Drugs Act
· the Ontario Health Protection and Promotion Act
· the Ontario Building Code
· the Occupational Health and Safety Act
· local by-laws

Teachers should make use of all available and relevant resources to make students sufficiently aware of the importance of health and safety. These resources include:

· Live Safe! Work Smart! – website (http://www.livesafeworksmart.net/) and related resources

· Passport to Safety – website (http://www.passporttosafety.com/ ) and related resources

· Workplace Safety and Insurance Board (WSIB) – website (http://www.wsib.on.ca/splash.html) and related resources

· Industrial Accident Prevention Association (IAPA) – website (http://www.iapa.ca/) and related resources

· Ontario Ministry of Labour (MOL) – website (http://www.labour.gov.on.ca/english/) and related resources

· Canadian Centre for Occupational Health and Safety (CCOHS) – website (http://www.ccohs.ca/) and related resources

· Appropriate Safe Workplace Associations (SWAs) and clinics (http://www.ohscanada.com/links/associations.aspx), such as:

· the Construction Safety Association of Ontario (CSAO) – website (http://www.ihsa.ca/home.cfm) 

· the Ontario Service Safety Alliance (OSSA) – website (http://www.ossa.com/) 

· the Infrastructure Health & Safety Association of Ontario (IHSAO) – website (http://www.ihsa.ca/about/) 

· the Electrical & Utilities Safety Association (E&USA) – website (http://www.eusa.on.ca/)

· the Workers Health & Safety Centre (WHSC) – website (http://www.whsc.on.ca/)

· the Occupational Health Clinics for Ontario Workers (OHCOW) – website (http://www.ohcow.on.ca/)
Teachers should also be aware of the Occupational Health and Safety Act, Regulations 857, Amended to O. Reg. 352/91. The Occupational Health and Safety Act can be found at:

http://www.e-laws.gov.on.ca/html/regs/english/elaws_regs_900857_e.htm 

Delegating the Responsibilities for Safety 


As well, there are key areas of responsibility that must be clearly delegated for all technological subject areas and they must be addressed for their individual board, school and facility. 

These may include administration, department heads, technology teachers, students, board facilities, custodian/maintenance and other local partners or board-defined roles. This information can be found in the OCTE SAFEdocs at www.octe.on.ca.

Safety Perspective Overview


[image: image115.jpg]()




[image: image116.emf]
[image: image117.emf]
[image: image118.emf]
[image: image119.emf]
[image: image120.emf]
[image: image121.emf]
Safety Topics for the Classroom

The following are suggested topics for teaching in the classroom. See Appendix A for available resources pertinent to general safety and particular safety rules and procedures for your subject area. See Appendix B for specific resources or links that are associated with Communications Technology. See also your Board, school and relevant municipal policies for local safety rules and procedures.

Emergency Procedures
procedures for handling fire, security threats, and other emergencies

First Aid
procedures for handling breathing difficulties, bleeding, burns, allergic reactions, epileptic seizures, etc.

Personal Protective Equipment
use of eye, hearing, foot, body, respiratory protection

Ergonomics
safe posture when using equipment, avoiding repetitive stress injuries

Material Handling
procedures for safely handling heavy loads, chemicals, potentially hazardous materials 
Housekeeping and Storage
procedures and rules regarding maintaining safe facilities and proper storage of materials and equipment

Fire Protection
location and types of fire protection equipment, procedures to follow in the event of a fire or fire alarm

WHMIS
(Workplace Hazardous Materials Identification System)…identification and safe use of hazardous materials

Communication


It is important to the safety of all students and staff at a school that safety be taught and reinforced on a daily basis. Some basic methods of communication are:

· Safety Notice Board, containing posted minutes from the joint health and safety committee and the Occupational Health and Safety Act (must be posted by law)

· visible WHMIS binders, symbols and MSDS sheets

· readily available manuals for the operation of various types machinery, tools or equipment 

· safety posters around major equipment and work areas

· clear and precise instructions, reinforced each time a procedure or equipment is used

· clearly marked areas that contain safety items such as fire extinguishers, eye wash stations, first aid kits, etc.
Additional Examples and Safety Expectations

The following are safety related expectations from The Ontario Curriculum 2009 Revised) - Technological Education for TGJ3M/4M:
TCJ 3C – CONSTRUCTION TECHNOLOGY
Grade 11 College Preparation
C. FABRICATION, ASSEMBLY, ND FINISHING SKILLS

C1. demonstrate appropriate technical skills, including the safe use of construction tools, equipment, and materials;

C1.1 demonstrate safe work practices when using hand tools, power tools, equipment, and materials;
C2. demonstrate safe and accurate building techniques;
C2.1 safely construct projects in accordance with the specifications for the project (e.g., technical drawings, lists of specified materials and fixtures);

E. PROFESSIONAL PRACTICE AND CAREER OPPORTUNITIES

E1. demonstrate an understanding of and comply with health and safety regulations and practices specific to the construction industry;
E1.1 describe hazards related to construction materials, processes, tools, and equipment (e.g., toxic or flammable fumes from solvents, paints, varnishes, and gasoline; explosion or burns from propane; lung damage from silica; tripping or falls in unfinished buildings; shock from damaged power tools or electrical equipment), and the precautions that should be taken to avoid these hazards;
E1.3 use, handle, and store materials in accordance with Workplace Hazardous Materials Information System (WHMIS) guidelines;
E1.5 use protective clothing, gear, and equipment appropriately (e.g., dust mask, hard hat, safety glasses, safety harness).

TCJ 3E – CONSTRUCTION TECHNOLOGY
Grade 11 Workplace

C. FABRICATION, ASSEMBLY, ND FINISHING SKILLS
C1. demonstrate appropriate technical skills, including the safe use of construction tools, equipment, and materials;

C1.1 use, maintain, and store construction tools, equipment, and materials safely and correctly (e.g., tools: builder’s level, framing hammer, wire stripper, pliers, tri-square, trowel, pipe cutter, hand saw, reciprocating saw, masonry saw, circular saw, drill; equipment: air compressor, scaffolding, cement mixer, generator, electrical test meter; materials: lumber, sheet goods, plumbing materials, bricks, wiring);

E. PROFESSIONAL PRACTICE AND CAREER OPPORTUNITIES
E1. demonstrate an understanding of and comply with health and safety regulations and practices

specific to the construction industry;

E1.1 identify hazards related to construction materials, processes, tools, and equipment (e.g., toxic or flammable fumes from solvents, paints, varnishes, and gasoline; explosion or burns from propane; lung damage from silica; tripping or falls in unfinished buildings; shock from damaged power tools or electrical equipment), and the precautions that should be taken to avoid these hazards;
E1.3 demonstrate an understanding of and adhere to safety practices and procedures for facilities, processes, materials, tools, and equipment used in construction (e.g., use of tool and equipment guards);
E1.3 use, handle, and store materials in accordance with Workplace Hazardous Materials Information System (WHMIS) guidelines;
E1.5 use protective clothing, gear, and equipment appropriately (e.g. dust mask, safety glasses, safety harness).
TCJ 4C – CONSTRUCTION TECHNOLOGY
Grade 12 – College Preparation

C. FABRICATION, ASSEMBLY, AND FINISHING SKILLS
C1. demonstrate appropriate technical skills, including the safe use of construction tools, equipment, and materials;
C1.1 demonstrate safe work practices when using hand and power tools, materials, and equipment;
C2. demonstrate safe and accurate building techniques;
C2.2 safely install various systems of a construction project (e.g., electrical, plumbing, heating/ventilation/air-conditioning) in accordance with codes, regulations, and standards (e.g., Ontario Building Code requirements for joists and beams);

E. PROFESSIONAL PRACTICE AND CAREER OPPORTUNITIES
E1. demonstrate an understanding of and comply with health and safety regulations and practices

specific to the construction industry;
E1.1 assess hazards related to construction materials, processes, tools, and equipment (e.g., toxic or flammable fumes from solvents, paints, varnishes, and gasoline; explosion or burns from propane; lung damage from silica; tripping or falls in unfinished buildings; shock from damaged power tools or electrical equipment), and describe the precautions that should be taken to avoid these hazards;
E1.3 use, handle, and store materials in accordance with Workplace Hazardous Materials Information System (WHMIS) guidelines;
E1.5 demonstrate the understanding of when and how to use appropriate protective clothing, gear, and equipment (e.g., hard hat, respirator, safety harness).
TCJ 4E – CONSTRUCTION TECHNOLOGY
Grade 12 Workplace
C. FABRICATION, ASSEMBLY,AND FINISHING SKILLS
C1. apply appropriate technical skills, including the safe use of the tools, equipment, and materials required to build construction projects;
C1.1 use safe work practices with all construction tools, materials, and equipment;
C1.3 install various systems of residential and/or light commercial construction projects (e.g., structural, electrical, plumbing, masonry, heating/ventilation/air-conditioning) safely and in accordance with codes, regulations, and standards;
C2. apply safe and accurate techniques for building construction projects;
C2.1 safely construct residential and/or light commercial projects in accordance with design specifications (e.g., architect’s drawings; engineering specifications; fixtures, trim, cabinetry, flooring, or paint chosen by client or interior designer; manufacturers’ installation instructions);

E. PROFESSIONAL PRACTICE AND CAREER OPPORTUNITIES
E1. demonstrate an understanding of and comply with health and safety regulations and practices specific to the construction industry;
E1.1 describe hazards related to construction materials, processes, and equipment (e.g., toxic or flammable fumes from solvents, paints, varnishes, and gasoline; explosion or burns from propane; lung damage from silica; tripping or falls in unfinished buildings; shock from damaged power tools or electrical equipment), and the precautions that should be taken to avoid these hazards;
E1.3 use, handle, and store materials in accordance with Workplace Hazardous Materials Information System (WHMIS) guidelines;
E1.6 demonstrate an understanding of when and how to use appropriate protective clothing, gear, and equipment (e.g., hard hat, respirator, safety harness).


INTERNET ACCEPTABLE USE AGREEMENT FORM

The form below is a sample agreement form that can be used with your board Internet use policy and guidelines.

	INTERNET ACCEPTABLE USE AGREEMENT FORM

	To Students:

I, the undersigned, indicate by my signature that I have read and understand fully the Acceptable Use Policy and related guidelines. I agree that I will abide at all times to the rules and responsibilities as outlined in the Acceptable Use Policy and related guidelines. I also agree that I clearly understand the consequences of my failure to abide by these rules and regulations.

To Parents/Guardians: 

As a parent or guardian signing below, I indicate that I understand the rules, regulations and consequences of misuse governing my son or daughter’s use of the Board’s computer and information technology facilities and resources. I understand that all Board staff will make every attempt to ensure proper and acceptable use in line with relevant policies, laws and regulations.  I hereby allow my son or daughter to access the Board’s supervised facilities and resources.

Student Name:

Student Signature:

Date:

Parent/Guardian Full Name:

Parent/Guardian Signature

Date;




To Be Used As An Example Only; Please See Board/School Policy 
Construction Student Conduct Agreement

A signed agreement that outlines the student’s responsibilities is one way of establishing the seriousness of daily safety vigilance. An agreement covers the elements common to all technology classrooms and labs and lays out the framework for a safe and healthy working environment for both staff and students. An example of an agreement is given below.

Safety Awareness
Personal Protective Equipment [PPE]

1. Wear gloves, safety eyewear, aprons, masks, and other PPE as per instructed when using chemicals, heat, biological materials hand or powered instruments and tools.

2. Ensure other workers and visitors are protected before performing operations that can be dangerous.

Lift Support and Movement

1. Move heavy objects only with teacher approval.

2. Use assistance to lift items over 20 kilograms (40 pounds) or 2 meters (six feet) in length

3. Secure and support heavy or long objects on approved shelves.

Equipment

1. Operate equipment, chemicals or tools only after receiving proper instruction and permission from the teacher.

2. Never leave equipment, chemicals or tools unattended.

3. Do not attempt to repair any electrical connections, see your instructor.

4. Remove from service any equipment or tools that need repairing.

Storage and Handling of Chemical Substances

1. Understand and follow WHMIS, and MSDS instruction before handling chemical substances.

2. Secure all flammable chemicals and corrosives in approved cabinets.

3. Maintain good housekeeping practices when dealing with chemical substances.

4. Be responsible for cleaning up your workstation, tools and work area.

5. Sort recyclable liquids and solids and biological materials into proper approved storage containers
STUDENT CONDUCT AGREEMENT
A signed agreement that outlines the student’s responsibilities is one way of establishing the seriousness of daily safety vigilance. An agreement covers the elements common to all technology classrooms and labs and lays out the framework for a safe and healthy working environment for both staff and students. An example of an agreement is given below.

	STUDENT CONDUCT AGREEMENT FORM

	I, 
 agree to:

Ensure a safe workplace

1. Inform teachers of all injuries, damaged equipment and potentially dangerous situations.

2. Make sure I know all fire exits and power shutdown switches and how to use them during emergency situations.

3. Not compromise the safety of others through horseplay or aggressive action.

4. Only use equipment when properly trained, always with any necessary personal protective equipment, and when I fully understand all related safety issues

5. Ask for assistance from the teacher when I am unsure of the proper procedures or health and safety issues

Prescribed and Non-prescribed Medications

1. Report any use of prescription medications and inform teachers of any possible side effects of the medication [e.g. penicillin, phenobarbital] 

2. Report any use of non-prescription medication and any possible side effects of the medication [e.g. Reactine, Benadril, cough syrups]

3. Never enter a shop or lab carrying, or under the influence of illegal substances

Consequences for Improper Action

I understand that failure to comply with this agreement may result in injury to myself or others, and that failing to comply with safety procedures may result in my temporary removal from the class or shop.

I have read the above and understand the expectations and consequences.
Student signature:
________________________________________

Parents signature
________________________________________

Date:
________________________________________




	SECTION 2: SAFETY DATA SHEETS


SECTION OVERVIEW
This section contains Safety Data Sheets (listed in alphabetical order) that can be used as:

· Student handouts

· Safety posters (can be mounted in and around specific equipment or bulletin boards)

· Teacher notes in project binders, safety binders or assessment plans

· Information that can support a lesson(s) 

Safety Data Sheets contain information specific to various common tools and procedures. Before using them, ensure they accurately describe your own particular facilities and equipment, and that they align with specific manufacturer’s safety instructions.

NOTE:

All materials within this document are to be considered as suggestions and recommendations only.  These are not legal documents and are not to be considered as legal requirements or as official policy. OCTE or the individual contributors makes no claim to the accuracy or the completeness of the enclosed documents and accepts no responsibility for any damages pertaining to their use. Users of this document should not assume all warnings and precautionary measures are contained herein, that additional information or measures are not required, or that local by-laws, regulations or Board policies are explicitly included.

Please see specific equipment manuals for further safety information, as well as local, Board and school policies and regulations. Please review exemplar TCJ OCTElab SafetyNET resource documents for experienced teacher tips and customization options for your course projects.
	Chemical Handling

	Many operations in construction technology involve different types of chemicals. Make sure you know how to handle these chemicals: their use, as well as storage and disposal procedures.

1. Before handling any chemicals, ensure you understand the safe handling procedures as outlined on container labels, WHMIS data sheets, designated instructions or posted classroom procedures as appropriate. If you are unsure, see your instructor before proceeding.

2. Place any chemicals in approved, labeled containers ONLY.

3. DO NOT mix chemicals without prior knowledge of the consequences.

4. Discard any used chemicals in approved disposal containers ONLY. Inform your instructor of near-full containers. DO NOT dispose of chemicals down drains. Ask your instructor for proper disposal methods and procedures.

5. Ensure that there is adequate ventilation when using chemical substances.

6. Do not use any chemical for any other purpose other than what it is designed for.

7. Use appropriate PPE (personal protection equipment) at all times when handling chemicals. PPE includes eye protection, skin protection, gloves, aprons or coveralls, foot protection, as required under safe operating procedures.

8. Take note of expiry dates and storage requirements of chemicals. Do not use chemicals beyond their expiration.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Electrical Hazards



	Touching an exposed electrical wire or electrical equipment that has not been grounded properly causes shocks. Shock can vary from a slight tingle to a rocking jolt. A very severe shock can cause death. Do not touch equipment or electrical wires that have been exposed to fluids.
Protect yourself against shocks by following these rules:

1. Check the condition of electrical cords on equipment. Report all problems to your instructor immediately. Replace worn or damaged cords. 

2. When disconnecting a cord, pull on the plug. Never pull on the cord. You may loosen the wires and get a shock.

3. Never handle electrical equipment with wet hands or while standing in water.

4. Wear rubber-soled shoes to prevent shocks. Rubber does not conduct electricity.

5. Be sure an appliance is turned off before plugging it into an outlet.

6. Make sure you use proper power supplies and cables designated for use with specific pieces of equipment. 

7. Store all electrical equipment in areas designated by your instructor.

8. Never change or interfere with the operating environment set up by someone else without permission.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Wiring Board/Structure Projects & Diagrams Student Guidelines



	Never apply electrical power to a wiring project without permission from the instructor!
1. Using the proper colours and symbols complete the wiring and schematic diagram for each of the wiring projects. Be sure to label the cables and the applied power. Include a legend for each project. Use a ruler and be neat.

2. Wire the projects using proper wiring installation methods as discussed in the electrical technology class with your instructor. All projects will be constructed using industry standards as outlined in the current version of the Ontario Electrical Code. All electrical devices must be Canadian Standards Association (CSA) or Ontario Hydro Approved.
3. Upon completion of the wiring installation and before fastening or securing any       electrical devices or cover plates to the outlet boxes ask the instructor for a preliminary assessment of the circuit. A safety check helps ensure that there are no blatant errors or omissions in the circuit before testing. If the project is safe and ready for testing, permission to apply electrical power will be given by the instructor. Lockout /Tag procedures will be in place until the instructor is satisfied that the circuit is wired correctly and is safe to energize. Projects that will short circuit and are deemed unsafe to test will not be given approval to apply power. Corrections must be made and the project must pass a 2nd safety check before the instructor will grant permission to apply electrical power to the circuit.                                                        . 

4. Upon completion of the safety check and before electrical power is supplied to the circuit fasten each of the electrical devices and cover plates to the electrical boxes using the appropriate fasteners. Make sure that the outlet box knock-outs are in place or use knock out covers to ensure that all energized parts of the circuit are shielded/guarded.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Wiring Board/Structure Projects & Diagrams Student Guidelines Cont’d


	Never apply electrical power to a wiring project without permission from the instructor!
5. Notify the instructor that you are ready to test the wiring project. With the instructor present the student will use a multi-metre or polarity checker to test the circuit for a short circuit between the live and neutral and live and ground conductors. Electrical power will be applied at the test bench using GFCI protected receptacles fastened to the test bench. Test the circuit using lamps and the receptacle polarity checker. If the circuit test is successful and meets the approval of the instructor you may remove the cover plates and lift all the electrical devices from the outlet boxes by removing the fasteners only. Do not disconnect any electrical devices or wiring. Notify the instructor that you are ready to have the circuit marked. Be sure to have your completed diagram ready for marking.
Notes:

The operation and maintenance of electrical distribution services shall meet the

standards of the Canadian Electrical Code.

Electrical equipment that is capable of becoming live shall be isolated, locked out,

tagged, and tested before work is performed on the equipment.

Energized parts of electrical circuits and equipment shall be guarded by approved

cabinets or enclosures.

Electrical equipment and appliances shall be CSA or Ontario Hydro approved.

Ground fault circuit interrupters (GFCIs) shall be installed on temporary circuits at

renovation and construction sites.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Wiring Board Installation Guidelines



	1. Before any electrical wiring is installed on wiring boards you must complete a wiring and schematic diagram for the project. The architectural diagram will provide the proper layout for the circuit. Using the architectural diagram for the layout of the circuit you can complete the wiring and schematic diagrams. 

2. Use the appropriate type and size of cable between each of the outlet boxes. Conductors running between outlet boxes must be properly enclosed within the nylon jacket or ½” conduit. 

3. Allow for a minimum of 15cm (6” inches) and a maximum of 20cm (8” inches) from the bottom of the outlet box to the end of the conductor.

4. The outer nylon jacket on the non-metallic sheathed cable must be removed carefully so the nylon jacket protrudes beyond the clamp by 5mm (¼” inch) and the clamp is securely fastened onto the nylon portion of the cable. The nylon jacket must be cut in a straight and neat manner.

5. Connect all ground wires to the outlet boxes by wrapping the bare copper wire in a clockwise direction around the ground screw. Use a wire nut to bond each of the ground wires together once they have been fastened to the outlet box. Be sure not to overlap the conductors under the ground screw.

6. Obtain the proper electrical devices required for the circuit. All electrical devices must be Canadian Standards Association (CSA) or Ontario Hydro Approved. All terminal connections must be made in a clockwise direction. This will allow the electrical wire to turn with the screw when fastening the conductor. Proper terminal connections must be made by removing 2 cm (13/16” inch) of insulation from the conductor to fully surround the terminal connection screw. The conductor must not be nicked when removing the insulation form the conductor. The insulation must not go under the terminal connection screw and should be butted up to the terminal screw with no more than 3mm (3/16” inch) of bare conductor left exposed beyond the terminal screw.
7. When using wire nuts to connect conductors together, be sure that no exposed copper wire is showing beyond the wire nut. The wire nut and wires must be securely fastened so there are three tight twists in the insulation below the wire nut. Ensure that the wire nut will not come off when pulled. Use the appropriate wire nut when connecting wires together. Helpful hint: Strip each wire to the length of half the wire nut’s length being used.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Wiring Board Installation Guidelines Cont’d


	8. When wiring the project neutral conductors must always be white in colour, live wires can be black, or, white with a piece of black tape wrapped around the conductor. Control wires (switched-live) can be black or red. Traveler wires can be black, red or white with a piece of black tape wrapped around the end of the conductor.
9. All conductors must be folded neatly and placed in the outlet box as low as possible in order to allow enough room for the electrical device. Be sure the bare ground wire is installed in such a manner that it will not in any way come into contact with any of the terminal connections on the electrical devices. All wire nuts must be placed in the box in a manner in which they will not interfere with the placement of the electrical device.
10. All devices must be securely fastened before power can be applied to the circuit. Use 6/32” X 1” machine screws to fasten switches and receptacles to outlet boxes and 8/32” x 1” machine screws to fasten lamp holders and cover plates. 
11. All electrical devices must be mounted to the outlet boxes when testing circuit operation. All lamp holder, switch plates and receptacle covers will be used and securely fastened when testing circuit operation
Notes:

The operation and maintenance of electrical distribution services shall meet the

standards of the Canadian Electrical Code.

Electrical equipment that is capable of becoming live shall be isolated, locked out,

tagged, and tested before work is performed on the equipment.

Energized parts of electrical circuits and equipment shall be guarded by approved

cabinets or enclosures.

Electrical equipment and appliances shall be CSA or Ontario Hydro approved.

Ground fault circuit interrupters (GFCIs) shall be installed on temporary circuits at

renovation and construction sites.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Lockout Procedure Reference Sheet



	Hard Wired Equipment Lockout/Tag
1. Depress the red stop button to shut down the piece of equipment. (The red stop button is surrounded by the Yellow Emergency Stop field)
2. Notify everyone present in the shop area of the equipment lockout.
3. If the situation is safe remove any material from the equipment and the working area.
4. Provide a visual check to ensure that all motors, rollers, blades, bits and associated apparatus have come to a complete stop.

5. Ensure that the lockout switch for the equipment is in the “off” position and place the paddle lock through the lockout saddle to ensure that the switch cannot be returned to the “on” position without first removing the applied paddle lock. (to accommodate multiple locks use a lockout scissor device and ensure that you are the only person that has access to “your” paddle lock key)

6. Before proceeding with any repair push the green start button to ensure that electrical power has been cut off to the equipment. 

7. Apply a tag to the paddle lock which includes the reason for lockout, your name, your location, your contact information and the date of lock out.

8. Record the lockout procedure information into the lockout log book
9. After the identified work has been completed and the lockout log book has been signed off, the locks can be removed and the equipment can be operated.
Corded Plug in Equipment
1.
Follow the same procedure as above except unplug the equipment from the wall and apply an approved lockout device, including paddle lock and red tag.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Ladder Safety


	Many tasks relating to computer engineering and emphasis courses may require ladder use.

Review your current school / board policy on student and staff use of ladders and restrictions. If students are permitted to use ladders within board restrictions, ensure correct non-conductive type is used. 

1. Follow your instructor’s and the ladder manufacturer's instructions when using ladders at all times. Do not use ladders that have loose rungs, cracked or split side rails, missing rubber foot pads, or are otherwise visibly damaged. Keep ladder rungs clean and free of grease; remove buildup of material such as dirt or mud.

2. Open the stepladder spreaders and shelf fully before climbing. Allow only one person on the ladder at a time. Do not carry items in your hands while climbing up or down a ladder.

3. Face the ladder when climbing up or down it. Maintain a three-point contact by keeping both hands and one foot or both feet and one hand on the ladder at all times when climbing up or down the ladder. When performing work from a ladder, face the ladder and do not lean backward or sideways from the ladder.

4. Do not stand on tables, chairs, boxes or other improvised climbing devices to reach high places; use a ladder. Check stability. Ensure that all ladder feet are on a firm, level and non-slippery surface. Do not stand on a ladder that wobbles, or that leans to the left or right of center.

5. Do not stand on the top two rungs of any ladder.

6. Do not move a ladder while someone is on it. Avoid pushing or pulling stepladders from the side. Repeated sideways movement can make ladders wobbly since they are weaker or less stable in those directions.

7. Do not place ladders on unstable bases such as barrels, boxes, loose bricks, pails, or concrete blocks.

8. Use a stepladder that is about 1m (3 ft.) shorter than the highest point you have to reach. This gives a wider, more stable base and places the shelf at a convenient working height. 

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Electrical Current Safety



	Current 
Reaction 
Below 1 mA 

1 mA 

5 mA 

6-25 mA 

9-30 mA 

50-150 mA 

1,000-4,300 mA 

10,000 mA 

Not perceptible 

Faint tingle 

Slight shock (Not painful) 

Painful shock, loss of muscle control 

Individual cannot let go 

Respiratory arrest 

Rhythmic pumping (Action of heart ceases) 

Cardiac arrest-burns 


If you see someone who is “frozen” on a conductor: 


1. Shut off circuit immediately and call your teacher for help. 


2. Use non-conducting materials to push or pull the victim away from contact with energized conductor 


3. Do not contact victim with your bare hands or any conductive material. 

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Cable Use



	1. Electrical devices use and retain potentially lethal voltages. Do not touch equipment or cables that have been exposed to fluids. 

2. When working with cords and cables, grasp the connectors, do not pull on the cable.

3. To avoid accidental damage to equipment and personnel, secure cables to the floor with safety covers or by taping them.

4. Regularly inspect all cables for damage and wear. Replace worn or damaged cables. Report all cabling problems to your instructor immediately.

5. Make sure all cables are labeled for use with specific pieces of equipment. 

6. Store all cables in areas designated by your instructor.

7. Prevent accidents and cable damage by allowing sufficient cable length for all planned equipment movement. Use the appropriate clamps to secure cables to various kinds of mounts (tripods, microphone stands, lighting stands, etc.).

8. When disconnecting cables from equipment, fit a protective cap over each end to prevent moisture and dirt from damaging the sockets. 

9. Use caution when attaching and disconnecting cables with plugs that house small pin connections.

10. To prevent internal damage to cables and equipment, avoid exaggerated twists and bends to cables when operating your studio equipment.

11. Never change or interfere with the operating environment set up by someone else without permission.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	Programmable Logic Controllers
(Wiring Precautions)


	1. Do not attempt to take any unit apart while power is being supplied to the PLC.

2. Do not touch any of the terminals or terminal blocks while the power is being supplied to the PLC.

3. Completely turn off external power when installing or replacing wiring.

4. When wiring in the PLC, be sure that it is done correctly by checking the products rated voltage and the terminal layout.

5. Tighten terminal screws with the specified torque. Loose screws may result in burning.

6. Wiring bare wires to directly to PLC terminals may result in fires. Use solderless terminals or solid wires for wiring.

7.  Do not pull on cables or wires running to the PLC. Bending wires or cables beyond their natural limit may also cause damage.

8. Before turning on the power supply or operating the module after installation or wiring work, ensure that the modules terminal covers are correctly attached.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	PLC SAFETY QUIZ



	Name:_______________________________

Date:________________



	1. Minimum PPE for working with PLC’s are ________________________ safety glasses.

2. Ensure _________________ power is completely turned off when installing or replacing wiring.

3. Use wiring _________________ or solid wires for wiring to the PLC. 

4. Make all _________________________________________ to the PLC and its associated components with the power off.

5. Tightening terminal screws to the specified ___________________ will prevent damage and possible failure of the PLC. 

6. Excessive _____________________________ of wires or cables where they attach to the PLC may lead to wire failure and become an electrical hazard.

7. To avoid electrical shock, make sure that ___________________________ are in place and securely attached.



	WORD BANK:

external, adjustments/measurements, CSA approved, terminals, bending, torque, terminal covers




	Robotics



	1. Make sure the robot base is secure to the work surface.

2. Make sure the robot arm has sufficient space in which to move freely.

3. Do not place your hands or fingers or any object within the robot arm’s operating range, particularly while it is in motion.

4. Ensure the device is powered off before approaching or handling the robot.

5. Do not exert force on any part of the system. 

6. Do not use physical or mechanical means to stop the movement of any part of the robot arm.

7. Do not drive the arm into another object or an obstacle.

8. Do not overload the arm. Check the manufacturer’s instructions for maximum workload. The gripper should grasp the workload at its centre of gravity.

9. Never leave the arm or gripper under mechanical strain for extended periods of time.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	ROBOTICS SAFETY QUIZ



	Name:_______________________________

Date:________________



	1. Always wear ________________________ when working with robotic equipment.

2. Ensure that adequate _________________________ such as safety barriers or light   curtains are installed around the robot work area.

3. Ensure you are familiar with _________________ and ___________________

    of ON/OFF and Emergency Stop switches.

4. Inspect the robot on a _____________________basis to ensure that all moving parts are in good working order.

5. Remove the ___________________ before making adjustments to the robot or equipment or materials within the robot work area.

6. The robot workcell must ___________________ with applicable local and national standards.

7. Make sure the ________________________ limits for the robot are not exceeded.

8. Never leave the robot running _______________________________.

9. Operate robot in a ____________________________ sequence when running new or modified programs for the first time.



	WORD BANK:

Safety glasses, safeguards,  single step, comply, power, location, operation, regular, unattended, payload




	CNC Machine



	1. Any CNC machine may operate automatically without warning. Only a trained individual familiar with the software, machine and computer system should operate this equipment.

2. Be aware of the position of the on/off switches and emergency STOP button.

3. Keep the immediate work area around the CNC machine clear of materials that might cause interference with machine operation.

4. Do not leave the CNC machine unattended when power is on to any electronics.

5. Material cutting operations can create debris. Ensure guards are in place and proper eye protection is worn.

6. CNC machines in motion can create pinch points in normal operation. Be aware of all areas that may be potentially hazardous when the CNC machine is in motion.

7. CNC machines may use hard stops as part of a normal setup. While in motion these stops may be contacted creating a crush point. .

8. Mechanical drives are in use while the CNC machine is in operation. Do not attempt to service, adjust or otherwise touch these components while the machine is on.

9. Certain components of CNC machines are heavy. Use caution when lifting or moving these components. Use team lifting or mechanical lifts when necessary to avoid personal injury.

10. CNC operations such as plasma arc cutting, machining and routing can cause high noise levels that can exceed safe limits. Use hearing protection as necessary to prevent permanent loss of hearing.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	CNC Router



	                                      

1. Whenever you are operating or watching the CNC router safety glasses must be worn.

2. Whenever possible use a enclosure that restricts the access the machine while it is turned on.  The enclosure should have power interruption switches so that if the access doors are opened during operation the machine will shut down.

3. The router moves according to your program.  Stand back from the router when it is operating.

4. Whenever possible do a test run of your program with the router turned off, and before putting your material on the table.

5. Never try to adjust the material while the machine is running.

6. Secure your work securely to the CNC table with clamps or jigs.  Be careful that the clamps and jigs will not interfere with the movement of the gantry or router.

7. Never leave the machine running unattended.

8. If the wood on the CNC table becomes loose or if the machine begins to make unusual noises, immediately turn off the machine and notify your teacher.  Do not attempt to re-clamp your wood while the machine is running or turned on.

9. Ensure that the router bit installed in the CNC is sharp, and the correct bit for your program.  

10. Whenever changing router bits be sure to tighten the collet correctly.  

11. Large parts of the CNC machine move.  This causes pinch points around the table of the CNC.  Always be aware where these points are and ensure that you stay clear of danger.
12. Ensure that nothing will interfere with the travel of the gantry.  Keep the CNC table clear of material not being machined, and that nothing has been placed near the CNC that will be hit by the gantry.

13. After running your program, be sure to clean the CNC table and trackways of all debris,  and remove any clamps or jigs.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	CNC Router Quiz



	Name:_______________________________

Date:________________



	1. Wear ___________  ____________ whenever around a CNC machine that is in operation.

2. Stand ____________ from the CNC while it is operating. 

3. Never try to _______________ the material while the machine is running.

4. Secure your work securely to the CNC table with _____________ or _________.  

5. Ensure that any clamps or jigs will not interfere with the ___________________ of the gantry or router.

6. Never leave the machine running _______________________.

7. After running your program, be sure to _____________ the CNC table and _________________ of all debris.

8. Whenever possible do a _____________ run of your program with the router turned _____________, and before putting your material on the table.

9. Be aware of _______________    _______________on the CNC router.  Keep fingers and material clear of these points.
10. Keep the CNC table ______________ of material not being machined, and that nothing has been placed near the CNC that will be hit by the gantry.

	WORD BANK: 

trackways,     back,      clear,      safety glasses,     off,     jigs,     test

unattended,     adjust,     clamps,      clean,     movement,      pinch points


	Facility Emergency Procedures



	1. Make sure you know the location of all fire alarms, emergency exits, and emergency power stop buttons

2. EMERGENCY PROCEDURES AND EVACUATION ROUTES must be clear at all times, and occupants must know and understand these procedures and routes.

Location of Emergency Exits and Fire Alarms:

Locations of Emergency Stops:

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Fall Protection



	Studies of accidents in the service industry show that most injuries are caused by falls. Observing a few simple rules will help to avoid most accidents of this type. 

The points below give guidelines for preventing falls.

1. Walk; do not run. 

2. Keep floor clean and dry. A wet floor is slippery, so wipe up any spills immediately. Sprinkle salt on any spots that are still slippery until the floor can be thoroughly washed. Warn others of slippery conditions.

3. Wear low-heeled comfortable shoes with rubber soles, these grip the floor well. 

4. Keep floor mats flat to prevent stumbling. Wrinkled mats or ones with curled corners can cause falls. 

5. Keep work areas and traffic lanes clear. Electrical cords should not extend across traffic lanes. Put mops and brooms away promptly. Never leave boxes or crates in the aisles. 

6. Look where you are going at all times. Get assistance to carry items that can block your vision.

7. Use a stepladder, never a chair or table, if you need to reach something on a high shelf.

AT ALL TIMES, IF IN DOUBT, SEE YOUR INSTRUCTOR



	Facility Fire Extinguishers

	1. If you see a fire, call for attention, get everyone out, pull fire alarm.

2. Stay calm. 

3. If using a fire extinguisher:

· PULL THE PIN, AIM LOW AT BASE OF FIRE
· SQUEEZE HANDLE, SWEEP SLOWLY AT BASE OF FIRE
· STAY LOW TO AVOID HEAT AND SMOKE
4. Have the fire department check to make sure the fire is out.

5. Ventilate when fire is completely out.

Learn and know the types of fire extinguishers (see below):

CLASS A

water

[image: image2.png]



Ordinary Combustibles: paper, cloth, wood, rubber, many plastics.
CLASS B

CO2

[image: image3.png]



Flammable Liquids:

oil, grease, gasoline, some paints, solvents etc.
CLASS C

dry chemical

[image: image4.png]



Electrical:

wiring, fuse boxes, electrical equipment etc.
CLASS D

special liquid or powder

[image: image5.png]



Combustible Metals: magnesium, sodium.


	AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	First Aid



	The immediate response to an emergency often involves First Aid. First Aid involves assisting an injured person until professional medical help can be provided. 

The general action tips in the list below should be followed in an emergency. They do not replace the need to be properly trained in first aid. Your teacher will provide you with instructions in what to do in cases of emergencies.

1. Check the scene for dangers, (e.g. electrical shock hazards, chemical spills, hot objects, fire), stay calm and call out for help. Do not touch the victim until immediate dangers such as electrical current are removed.

2. Assist if asked by your teacher to keep the victim comfortable and calm.

3. Call the office for medical help if requested by the teacher.

4. Care for the victim by administering first aid according to your teacher’s instructions.

5. Help keep people who are not needed away from the victim.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	First Aid Kits



	ALL INJURIES MUST BE REPORTED TO MAIN OFFICE

REPORT ANY USE OF FIRST AID KIT TO TEACHER TO ENSURE THAT ANY SUPPLIES THAT ARE USED ARE REPLACED
Suggested list (add items specific to your needs) See WSIB Regulation 1101, Required first aid kit items (at http://www.wsib.on.ca/wsib/wsibsite.nsf/Public/PreventionYHSRR)

DATE CHECKED: 

CHECKED BY: 

ITEM

Number

First Aid Manual


Masks


Disposable latex gloves


Pair of scissors


Plastic Emesis basin


Wooden splints


Rolls of splint padding

Adhesive strip bandages


3"x3" sterile gauze pads


4" compress bandages


6" Tensor bandages


Triangular bandages


Safety Pins


Sterile gauze bandages


Sterile gauze field dressing


1 ½" width roll adhesive tape


Antiseptic swabs


Burn cream

Instant cold packs


AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	General Housekeeping



	1. Everything has a proper storage location.

If you don’t know where it is, please ask.

If you do know, put it back.

2. If it is broken, report it.

If it doesn’t work, report it.

If it’s broken or doesn’t work, don’t use it.

3. Dirt, dust, debris are harmful to your safety and health.  Even if you didn’t put it there, pick it up, clean it up, or move it aside.

4. If you spill or drop any fluid on the floor, clean it, or use absorbent materials.  You are responsible for prevention of injuries.

5. Never block fire exits, fire pull alarms, doorways, aisles, and electrical breakers of machine switches for any reason at any time.
6. Chemicals all have proper storage containers. Make sure you use them. Never mix chemicals.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Lifting



	A strain is a feeling of stiffness or soreness from using muscles too long or the wrong way. Strains usually occur in the lower back, the weakest point of the spinal column. In food service, lifting heavy loads incorrectly often causes strains. Once your back has been strained or weakened, it can easily be injured again.

1. You can prevent back strain by lifting with your strong leg muscles. When you must lift a heavy object, squat with knees bent, feet apart, and back straight. With your arms straight, get a firm grip on the load. Stand up keeping your back straight. Make your leg muscles do the work. Do not twist or bend.

2. Set objects down by using the same method in reverse. Ask for help if the object is too heavy. Use a cart to carry heavy objects any distance.

3. Heavy articles should be stored on the bottom shelves.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	WHMIS Regulations



	· The acronym WHMIS stands for Workplace Hazardous Materials Information System
· This regulation was introduced into the Occupational Health and Safety Act of Ontario in 1987

· WHMIS gives a worker the right to know what they are handling

· Federal WHMIS applies to importers, manufactures, and suppliers of hazardous materials

· The Hazardous Products Act for controlled products states that national suppliers are to provide labels and Material Safety Data Sheets to all buyers

· MSDS stands for Material Safety Data Sheets
· MSDS is a print out on paper that identifies how to handle, store, use, health effects if exposed, emergency procedures, and protective measures

· MSDS must be updated by the supplier every 3 years
· Under the Occupational Health and Safety Act in Ontario, employers are to make sure that all hazardous materials are labeled appropriately and that a MSD sheet accompanies the product

· On any controlled hazardous product two labels must be properly labeled with a supplier and a workplace sticker

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	WHMIS Labels



	Supplier labels must be attached to the controlled product container which has detailed information about the product.  Legislation states that 10 kg or more of a controlled product or hazardous material from a supplier must contain the following information:

· both official languages

· have a WMHIS border

· identifies the material or product name (i.e. common name, chemical name, trade name, generic name, brand name, code name or number)

· name and address of the supplier

· reference to a MSD sheet

· WHMIS hazard symbols

In addition to this and if the container has more than 100 milliliters the following information must be on the label:
· risk time factors

· precautionary measures while using or being exposed to the product/chemical

· First aid measures to address immediate injuries and not progressive illnesses

Workplace labels must be identified on a container that is not from the supplier, and must contain the following information: 

· material identifier or product name

· reference to a MSD sheet

· precautionary steps 

· first aid measures
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	MSDS Safety Labels



	GENERIC MATERIAL SAFETY DATA SHEETS FOR PERSONAL ENHANCEMENT PRODUCTS PROTECTED BY TRADE SECRET LAWS (MSDS) 
MATERIAL IDENTIFICATION

_____________________________________________________________________

TRADE NAME/MATERIAL NAME                                                  PRODUCT USE

______________________________________________________________________

OTHER NAMES:

______________________________________________________________________

MANUFACTURER'S/SUPPLIER'S NAME:

______________________________________________________________________

ADDRESS:

______________________________________________________________________

EMERGENCY TELEPHONE:

______________________________________________________________________

FIRST AID PROCEDURE

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	General Shop Safety Rules

	1. None of the following is allowed in the Shop:

· Cell phones, mp3 players, headphones, or other electronic devices

· Backpacks, bags or purses

· Jackets, hoodies, or other baggy clothing

· Food or drink

· Open toed shoes

· anything else the teacher feels inappropriate

 If you show up with any of these, you will not be allowed into the shop.

2. No horseplay, goofing around, or throwing objects.

3. No shouting or yelling in the shop.

4. The emergency stops are there for emergencies.  You can use them at anytime you feel is appropriate.  However, keep in mind it is like pulling a fire alarm.

5. Do not distract someone working on a machine – including the teacher!

6. Do not crowd around someone using a machine.  Keep a safe, arm length, distance back.

7. Never use a machine or tool if you don’t feel well.  If you feel sick, overly tired, stressed, or are under the influence of medication (or the lack of it) do not use any of the shop equipment and see the teacher.

8. If there is a shop injury of any kind – even if you only need a band aid for a paper cut – let the teacher know immediately.

9. Never use any tools or machines unless there is a teacher in the room supervising.

10. Dirt, dust, debris are harmful to your health and safety.  Even if you didn’t put it there, pick it up, clean it up, and help keep the shop clean.

11. If you spill or drop any fluid, immediately clean it up and let the teacher know.  Sawdust makes this job a lot easier.

12. If it is broken, report it.  

     If it doesn’t work, report it.

     If it’s broken or doesn’t work, don’t try to use it.




	General Shop Safety QUIZ

	The following are True or False questions. Write T for true or F for False for each question.

___ 1. If you are uncertain about something in the shop, it is okay to ask a peer.

___ 2. All injuries must be reported to the teacher immediately. 

___ 3. Shop equipment needs to be cleaned only at the end of the period each day. 

___ 4. It is okay to bring a drink into the shop as long as none of the equipment is running 

___ 5. Carrying a tool in your pocket is okay as long as you don’t remove it from the class.

___ 6. It is okay to talk to a person while they are using a piece of equipment, as long as

           you do not distract them.

___ 7. It is okay to use a flat screwdriver to scrape some old paint off of a piece of wood.

___ 8. The first aid kit is be stored in the school main office so no one steals the contents.

___ 9. A class “D” fire extinguisher is a must in a construction shop.

___ 10. Once you’ve received your equipment passport you may use the equipment any

             time without permission

___ 11. Minor injuries need not be reported.

___ 12. If a machine does not work, report it to the instructor.

___ 13. At all times, if you are in doubt of how to use equipment, ask someone who is 

             licensed (passport).

___ 14. All guards must be in place and properly working before using the equipment.

___ 15. As long as no one is using the equipment after you, leave it running until you 

               need it again.

___ 16. Safety equipment is necessary only when power is on.

___ 17. A safety zone is an area where shop rules do not apply.

___ 18. Long hair must be tied back before using any power tool.

___ 19. Before working in a construction shop you should know the location of the

             emergency exits.

___ 20. Any adjustments to a machine must be made with the power off.




	Hand Tools



	1. Hand tools in poor condition are responsible for a vast number of injuries

2. Wear EYE PROTECTION whenever using striking tools.

3. After use, clean and return tools to their proper place so they are always ready when you need them.

4. Never leave tools on the floor, a bench, or machine table where they could be forgotten and cause a hazard.

5. When tools become worn or damaged, they should be repaired or replaced. Do not use them and show them to your teacher.

6. Use chisels, knives, blades that are sharp. Do not use blunt tools. Blunt cutting tools slip and can cause injuries.

7. Use tools only for their intended purpose. For example, screwdrivers should not be used as pry bars or chisels.

8. Never stand behind anyone who is swinging a hammer.  Stand to the side.

9. Never crowd someone using a tool.  Stay an arm’s length back.

10. Always push cutting tools away from yourself, i.e. chisel, scraper

11. Only use tools that have proper handles attached that are in good condition.

                                               


	HAND TOOL QUIZ



	Name:_______________________________

Date:________________



	1. Hand tools in ________condition are responsible for many injuries.

2. After use, __________and return the tool to its proper place.

3. All __________should be removed before beginning work.

4. __________  __________  _________   are the cause of many accidents. Use only sharp tools that are in good condition.

5. Always push a wood chisel __________from yourself.

6. Keep __________ hands on the chisel, unless striking it with a mallet.

7. Use the __________ tool for the job.

8. Always use a file with a __________. Protect your hand from serious injury.

9. Wear ________ _____________whenever you use striking tools.

10. Never __________behind a person swinging a hammer.



	WORD BANK: 

eye protection,   both,   blunt cutting tools,   handle,   stand,   poor,

clean,   away, jewellery,   proper


	General Machine Safety Rules

	1. Never operate a machine without the teacher’s permission.
2. Wear Personal Protective Equipment (PPE) - safety glasses – whenever you use a power tool.                                                                            [image: image122.emf]
3. Put on your safety glasses before starting a machine.

4. No loose clothing, untied long hair or jewelry is allowed when using a machine.

5. Be aware of the position of the on/off switches and emergency STOP button before turning a machine on.                                                      [image: image123.emf]
6. Make all adjustments to a machine with the power off.

7. Make sure all guards are in place and properly adjusted. 

8. Report any damage to guards immediately to the teacher.

9. Be sure to have firm footing when operating any machine.

10. Always operate machines from the front never from the side. 

11. Keep our hands beside or behind the blade: never in front 

12. Do not leave a machine until the blade or bit has stopped.

      [image: image6.jpg]Eye protection
must be worn



          [image: image7.jpg]


        [image: image8.jpg]



AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Mitre (Chop) SAW QUIZ



	Name:_______________________________

Date:________________



	1. Ensure the mitre saw is attached to the work surface with _________________ or bolts. 

2. Remove all ____________________ and tie back ______________ hair.

3. Your body should be _______________ of blade assembly.

4. Ensure the blade clears the _____________ before cutting. 

5. Always use your ____________________ hand to operate the trigger.

6. Ensure the ____________ is functioning correctly before operating the saw .

7. When making ___________________ cuts ensure the blade has adequate clearances.

8. ___________ pieces should be supported.

9. Watch for ___________________ when cutting small pieces.

10. Keep your _______  __________ clear of the blade path when cutting short piece that cannot be clamped down.



	WORD BANK: 

kickbacks,    long,    left hand,   clamps,    jewellery,    left,    right,

guard,    angular, stock ,long


	Scroll Saw



	1. Cut on the waste side of your pencil line! (sanding to the line is more accurate)

2. Do not set the speed too fast.  When in doubt, slow the speed of the machine.

3. When using the saw do not force the piece by pushing too hard.  Trying to cut too fast only results in a poor cut that is often far from your pencil line. 
4. Keep fingers clear of the blade path. 

5. Use both hands and keep fingers at least 10 cm. (4 in.) from the blade at all times.

6. Never pull or force a jammed piece through the equipment. Shut the power off and then carefully dislodge the piece.  
7. If the blade is dull or broken change it.  Make all adjustments with the power off.  Ask teacher for help if needed.

8. Make sure the hold down is resting on the work piece but not pushing down.

9. Plan your cuts carefully. Saw curves gradually. Sudden twists will cause the blade to bind or break. Use relief cuts if necessary. 

10. Always make short cuts first.

11. Avoid backing out of cuts with the power on. Backing out of a cut may cause the blade to bind

12. If the blade breaks, turn the power off immediately and step back. Inform the teacher that a new blade needs to be put on the saw.  Ask the teacher for help if necessary.

13. Remove scrap pieces from the table only after the blade has stopped.

14. Throw all scraps in the garbage and clean the machine of any sawdust before leaving.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	SCROLL SAW QUIZ



	Name:_______________________________

Date:________________



	1. Wear __________________ glasses when using this machine,  and put them

 on ​​​​​​​​​​__________________ starting it.

2. Do not push too ____________ when cutting.  It will only lead to __________ cuts.

3. Ensure the correct ________________ is set for the machine.

4.  Try to make ________________ cut first.

5. Keep your fingers out of the _____________ of the blade.

6. Always cut on the ______________ side of the line.  This allows you to sand to

 the _______________ which is much more accurate.

7.  __________ your cuts carefully.  Sudden twists can cause the blade to 

___________  and _______________.



	WORD BANK:

Safety,    poor,    before,    break,    waste,     speed,    bind

hard,    short,    path,    line,    plan




	Drill Press



	1. Select only drills that are sharp, in good condition and suitable for the job.

2. Remove the chuck key from the drill before starting the machine.

3. When using large drill bits, before starting the machine, clamp work securely to the machine table.  Attempting to hold the work under the drill with one hand can result in serious and painful injuries.

4. Do not force the drill bit into the wood.  Pushing too hard or quickly, can cause drills to break or splinter with the chance of serious injuries.

5. If wood slips from your hand or clamp, never attempt to grab it with your hands.   Turn off the drill and wait for it to stop spinning.

6. Never reach between the drill bit and the round drill press column.  Your hand could get caught and your arm broken

7. When drilling round stock (dowel), use a V-block to hold the stock.

8. Always ensure that the machine has been switched off and came to a complete stop before you attempt to change drill bit or the speed belt.

9. If the drill sticks in the work, stop the motor and rotate the drill by hand to free it from the work.

10. Always clear away chips and curls with a brush, not your hands.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	DRILL PRESS QUIZ



	Name:_______________________________

Date:________________



	1. Always operate the drill press from the _________, never from the __________.
2. Make sure your _________   ___________ are on before you start the machine.

3. Make sure all _____________ clothes and long ______________ are restrained.

4. Choose a drill bit that is _____________ and in good condition.

5. Remove the _________  _________ from the chuck before starting the machine.

6. Check for the proper _____________ for the drill size and material you are working on.

7. ___________ the work securely before drilling when using a large diameter drill bit.

8. Never attempt to ________________ a piece of work if it slips from the clamp.

9. Always make sure the drill press has _______________ before attempting to change speeds.

10. If the drill sticks in the work piece, _______   _____ the motor and rotate the chuck by ____________ to free it up.

11. Always clear away _______________ and curls with a ______________ not with your hands.

	WORD BANK:
sharp,   hair,   chips,   brush,   stopped,   turn off,   hand,   loose,   chuck key

speed,  clamp,   grab,   front,  side,   safety glasses



	Band Saw



	1. Use both hands and keep fingers at least 4” from the blade at all times.

2. Keep upper guides less than 1/4" from the material being cut.  Adjust the guides before turning the saw on.

3. Plan your cuts carefully. Saw curves gradually. Sudden twists may cause the blade to bind or break. Use relief cuts when necessary.

4. Ensure that the blade is running at full speed before starting a cut.

5. Always operate the saw from the front never from the side.

6. Cut on the waste side of your line.  Sanding to the line is always more accurate.

7. Keep your hands beside or behind the blade. Never in line with the blade. Use a push stick on small pieces.

8. If the blade breaks, immediately turn the power off and step back. Inform the teacher right away.

9. Always make short cuts first. Avoid backing out of cuts with the power on. Backing out of a cut may cause the blade to come off of the drive wheels.

10. Do not cut cylindrical stock without the use of a V block and clamp.

11. Remove scrap pieces from the table only after the blade has stopped.

12. Do not leave the band saw until the blade has stopped.

13. Ensure the blade is tracking correctly and runs freely in the upper and lower guide rollers. Ensure the blade is under proper tension. See your teacher for guidance.

14. Use band saw blades that are sharp, properly set and otherwise suitable for the job (e.g., the right tooth pitch; tooth form; blade width). 

15. Hold stock firmly and flat on the table to prevent the stock from turning and drawing your fingers against the blade. 
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	BAND SAW QUIZ



	Name:_______________________________

Date:________________



	1. When using the band saw,  _______ _____are required when cutting tight curves.

2. You should adjust the ______ _______ above the work before beginning to cut.

3. Narrow blades are best suited for cutting __________  curves, _________ ones are best for straight cuts.

4. When cutting with the band saw, the blade should cut on the ___________ side of the pencil line.

5. When using the band saw, plan your cuts carefully. Saw curves gradually. Sudden twists will cause the blade to __________ or __________. 
6. When using the band saw, keep your hands _________ or __________ the blade. Never in front.
7. Always support ____________ pieces.

8. Use ______________ sticks on small pieces.

9. Use a piece of wood to help ______________ pieces of scrap from around the blade.

	WORD BANK: 

relief cuts,    waste,    behind,    push,    upper guide,    break,    sharp,    wide

bind,   beside,    long,    remove


	Table Saw



	1. Never operate the table saw without the teacher’s direct permission.

2. Make sure the floor is clear in the work area.

3. Make sure the splitter and anti-kickback teeth are in place. 

4. Secure the fence position before beginning.   Ensure the fence is locked.

5. Always keep the work firmly down on the table and push it past the blade. 

6. Always “lock-out” the table saw before changing blades. 

7. Never reach over the blade. 

8. Always use a push stick when the fence is set under 3" to the blade. 

9. Ask for assistance when working with large pieces.

10. Stand clear of possible kickback and keep your hands clear of the blade path. 

11. Do not feed the material faster than the saw will accept.  Listen to the cut.

12. Use a fence when making a rip cut, and a mitre gauge or cross-cut sled to make cross-cuts.  Never us the rip fence and miter gauge at the same time.  Keep the work against the fence throughout the operation.

13. Never cut a piece of material free-hand. Always use the fence or the miter gage.

14. Always check the machine guards to make sure they are in place and operating, before using the machine.  

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	TABLE SAW QUIZ



	Name:_______________________________

Date:________________



	1. Wear _______________ goggles or a face shield.

2. Secure _________________ position before you begin cutting.

3. Check the _________________ of the blade.

4. Make sure the splitter and anti _______________________ teeth are in place. 

5. Use a ________ stick.

6. Get ______________________ when working on large pieces.

8. Stand _________________ of the path of a kickback.

9. Remove _________________ and tie back ______________ hair.

10. Never use the _______________ when crosscutting with the mitre gauge or 

      crosscut sled.

11. Use a ________________  gauge or crosscut sled when crosscutting.

12. Never cut ______________________.  Always use the fence or mitre gauge.



	WORD BANK: 

Fence,    safety,    assistance,    height,    fence,     push,    freehand

mitre,    clear,  jewellery,    long,    kickback


	General - Portable Power Tools



	1. Before operating any tool or machine, competency must be displayed to the teacher and be signed off by the teacher in your equipment passport.

1. Inspect tools for any damage prior to each use. 

2. If the tool has auxiliary or double handles, check to see that they installed securely. 

3. Inspect cords for defects: check the power cord for cracking, fraying, and other signs of wear or faults in the cord insulation. 

4. Inspect the plug for cracks and for missing, loose or faulty prongs 

5. Ensure that the power tool has the correct guard or shield.

6. If a tool seems defective, notify your teacher immediately. Do not use defective tools "temporarily". 

7. Wear or use personal protective equipment (PPE).  i.e. safety glasses, hearing protection, dust mask. 

8. Switch off the tools before connecting them to a power supply or before making adjustments.

9. Remove any wrenches and adjusting tools before turning on a tool. 

10. During use, keep power cords clear of tools and the path that the tool will take. 

11. Clamp work securely when practical to do so. 

12. Use only approved extension cords that have the proper wire size for the length of cord and power requirements of the electric tool that you are using. 

13. Keep the work area free of clutter and debris that could be tripping or slipping hazards. 

14. Keep power cords away from heat, water, oil, sharp edges and moving parts.

15. Do not wear gloves, loose clothing or jewelry while and tie back long hair when using a power tool. 

16. Do not walk around with a plugged-in tool with your finger touching the switch. 

17. Do not unplug a tool by pulling or jerking the cord from the outlet. Pull the plug, not the cord when unplugging a tool. 

18. Hold on to the tool until it has been turned off, has stopped running completely. 

19. Do not use electric tools in wet conditions or damp locations unless tool is connected to a ground fault circuit interrupter (GFCI). 

20. Do not connect or splice extension cords together to make a longer connection. 

21. Do not carry electrical tools by the power cord. 

22. Do not tie power cords in knots. Knots can cause short circuits and shocks. Loop the cords or use a twist lock plug. 
23. Do not walk on or allow vehicles or other moving equipment to pass over unprotected power cords. Cords should be put in conduits or protected by placing planks on each side of them. 

24. Do not operate tools in an area containing explosive vapors or gases. 

25. Do not clean tools with flammable or toxic solvents. 

26. Do not surprise or touch anyone who is operating a tool. Startling a tool operator could end up causing an accident or injury.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR




	General – Portable Power Tools Quiz


	Name:_______________________________

Date:________________



	1. Inspect tools for any ____________________ prior to each use.
2. Inspect the _______________ for cracks and for missing, loose or faulty __________ 
3. If a tool seems defective, notify your teacher immediately. Do not use defective tools _______________________. 
4. Switch tools _________________ before connecting them to a power supply or before making adjustments.
5. ___________________ work securely when practical to do so. 
6. Do not unplug a tool by _______________ or jerking the cord from the outlet. Pull the plug, not the cord when unplugging a tool. 
7. Keep _________________ ____________ away from heat, water, oil, sharp edges and moving parts.
8. Do not carry electrical ________________ by the power cord. 
9. To protect cords from being run over, they should be in conduits or protected by placing ___________________ on each side of them. 
10. Do not surprise or touch anyone who is operating a tool. _________________a tool operator could end up causing an accident or injury.


	WORD BANK: 

prongs,     power cords,      damage,    clamp,      plug,    tools,   pulling
off,     startling     temporarily,     planks


	General – Cordless Portable Power Tools



	1. Use only the battery that the tool manufacturer specifies for the tool that you are using.

2. Recharge a battery-powered tool only with a charger that is specifically intended for the battery in that tool. 

3. Remove the battery from the tool or ensure that the tool is switched off or locked off before changing accessories, making adjustments, or storing the tool. 

4. Store a battery pack safely so that no metal parts, nails, screws, wrenches and so on can come in contact with the battery terminals (place a cap on the battery terminals).

5. Inspect tools for any damage prior to each use. 

6. If the tool has auxiliary or double handles, check to see that they installed securely.

7. Ensure that the power tool has the correct guard, shield or other attachment that the manufacturer recommends.

8. If a tool is defective, notify your teacher immediately. Do not use defective tools "temporarily". 

9. Wear or use personal protective equipment (PPE).  i.e. safety glasses, hearing protection, dust mask. 

10. Remove any wrenches and adjusting tools before turning on a tool. 

11. Clamp work securely when practical to do so. 

12. Keep the work area free of clutter and debris that could be tripping or slipping hazards.

13. Do not walk around with your finger touching the power switch. 

14. Do not use cordless tools in wet conditions. 

15. Do not operate tools in an area containing explosive vapours or gases. 

16. Do not clean tools with flammable or toxic solvents. 

17. Do not surprise or touch anyone who is operating a tool. Startling a tool operator could end up causing an accident or injury. 
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	General – Cordless Portable Power Tools Quiz


	Name:_______________________________

Date:________________



	1. Use only the __________________ that the tool manufacturer specifies for the tool that you are using.

2. Recharge a battery _______________with a charger that is specifically intended for that battery. 

3. Store a battery pack safely so that no metal parts, nails, screws, wrenches and so on can come in contact with the battery ____________________(place a cap on the battery terminals).

4. If the tool has auxiliary or double________________, check to see that they installed securely.

5. If a tool is defective, notify your teacher_____________________. Do not use defective tools "temporarily". 

6. Do not walk around with a finger touching the __________________switch. 

7. Do not use cordless tools in _______________ conditions. 

8. Clamp work __________________________ when practical to do so. 

9. Do not clean tools with ______________________or toxic solvents. 


	WORD BANK: 

battery      securely      terminals     wet     immediately      flammable    only     power     handles



	Multimeter



	Using a Multimeter 

A multimeter is used to make various electrical measurements, such as AC and DC voltage, AC and DC current, and resistance. It is called a multimeter because it combines the functions of a voltmeter, ammeter, and ohmmeter. Multimeters may also have other functions, such as diode and continuity tests. The descriptions and pictures that follow are specific to the Fluke 73 Series III Multimeter, but other multimeters are similar. 

Important note: The most common mistake when using a multimeter is not switching the test leads when switching between current sensing and any other type of sensing (voltage, resistance). It is critical that the test leads be in the proper jacks for the measurement you are making. 
Safety Information 

· Be sure the test leads and rotary switch are in the correct position for the desired measurement. 

· Never use the meter if the meter or the test leads look damaged. 

· Never measure resistance in a circuit when power is applied. 

· Never touch the probes to a voltage source when a test lead is plugged into the 10 A or 300 mA input jack. 

· To avoid damage or injury, never use the meter on circuits that exceed 4800 watts. 

· Never apply more than the rated voltage between any input jack and earth ground (600 V for the Fluke 73). 

· Be careful when working with voltages above 60 V DC or 30 V AC rms. Such voltages pose a shock hazard. 

· Keep your fingers behind the finger guards on the test probes when making measurements. 

· To avoid false readings, which could lead to possible electric shock or personal injury, replace the battery as soon as the battery indicator appears. 

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	Reciprocating Saw



	1. Safety glasses need to be worn when using this saw. 

2. The reciprocating saw can be used to cut metal, pipe, wood, nail-embedded wood and other materials
3. Disconnect power supply before changing or adjusting blades. 

4. Make sure guards, if present, are installed and are working properly.

5. Reciprocating saws cut on the stroke towards the handle

6. Secure and support stock as close as possible to the cutting line to avoid vibration.

7. Keep the base or shoe of the saw in firm contact with the stock being cut. 

8. Select the correct blade for the material being cut and allow it to cut steadily. Do not force it. Clean and sharp blades operate best. 

9. When changing blades, be sure the spindle and blade clamp areas are clean. Metal chips and sawdust may prevent the blade from being held securely.
10. [image: image124.png]


Blades can break. Use the blade and accessories recommended for the job being done. Check your operator’s manual carefully about this.
11. To minimize blade flexing and provide a smooth cut, use the shortest blade that will do the job but will extend beyond the workpiece throughout the stroke
12. Do not force the saw along or around a curve. Allow the machine to turn with ease.

13. [image: image125.png]saery
GUIDELINES

MACHINE
oIGRAM

TEACHER
oevopores’



Do not insert a blade into or withdraw a blade from a cut or lead hole while the blade is moving. 

14. Do not put down a saw until the motor has stopped. 

15. Do not reach under or around the stock being cut. 

16. Maintain control of the saw always. Avoid cutting above shoulder height. 

17. Know what is behind a work piece before you begin cutting.
18. Never attempt to cut materials larger than the rated capacity listed in the jig saw operator’s manual.

19. NEVER overreach!  Always maintain balance and solid footing.

20. When cutting metal, choose a blade that will allow for at least three of the blades teeth to be in the material at all times.
21. Check blades carefully before each use for proper alignment and possible defects. Never use a bent, broken or warped saw blade
22. Never hold a work piece in your hand or across your leg when sawing.


	Reciprocating Saw Quiz


	Name:_______________________________

Date:________________



	1. The reciprocating saw can be used to cut metal, pipe, wood, _____________________________wood and other materials
2. Disconnect ______________________ supply before changing or adjusting blades. 

3. Secure and support stock as _________________as possible to the cutting line to avoid _______________________.

4. Keep the base or shoe of the saw in _______________contact with the stock being cut. 

5. To minimize blade flexing and provide a smooth cut, use the ________________blade that will do the job but will extend _____________the workpiece throughout the stroke.

6. Do not ​​​​​​​​​​​​​________________the saw along or around a curve. Allow the machine to turn with ease.

7. Maintain control of the saw always. Avoid cutting _________________shoulder height. 

8. When cutting metal, choose a blade that will allow for at least _____________blade teeth to be in the material at all times.
9. Never hold a workpiece in your ___________or across your __________when sawing.

	WORD BANK: 

power      beyond      vibration      three      above      leg      shortest

nail-embedded     close      firm     force     hand


	Jig Saw



	1. Wear safety glasses whenever using a Jig saw

2. Disconnect power supply before changing or adjusting blades. 

3. Keep all cords clear of cutting area. 

4. Make sure guards, if present, are installed and are working properly.

5. Keep in mind that the jig saws cut on the up stroke (towards the saw)

6. Secure and support stock as close as possible to the cutting line to avoid vibration. 

7. Keep the base or shoe of the saw in firm contact with the stock being cut. 

8. Select the correct blade for the material being cut and allow it to cut steadily. Do not force it. Clean and sharp blades operate best. 

9. Do not start cutting until the saw reaches its full power. 

10. Do not force a saw along or around a curve. Allow the machine to turn with ease. 

11. Do not insert a blade into or withdraw a blade from a cut or lead hole while the blade is moving. 

12. Do not put down a saw until the motor has stopped. 

13. Before turning on the saw, make sure that the blade is not in contact with the material.

14. Feed the blade slowly into the stock maintaining an even forward pressure.

15. Do not reach under or around the stock being cut. 

16. Never attempt to cut materials larger than the rated capacity listed in the jig saw operator’s manual, as this may result in personal injury.
17. NEVER overreach!  Always maintain balance and solid footing.

18. When plunge (pocket) cutting, use a blade designed for that purpose and follow the tool manufacturer’s instructions.

AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Jig Saw Quiz


	Name:_______________________________

Date:________________



	1. Disconnect power supply before __________________or adjusting blades.

2. Keep in mind that the jig saws cut on the ______________stroke (towards the saw)

3. Secure and support stock as _________________as possible to the cutting line to avoid___________________.

4. Keep the base or shoe of the saw in ____________contact with the stock being cut. 

5. Before turning on the saw, make sure that the blade is not in _________________with the material.

6. Do not insert a blade into, or withdraw a blade from, a cut or lead hole while the blade is_______________________. 

7. NEVER____________________.  Always maintain balance and solid_____________.

8. Do not reach or around the stock being cut. 



	WORD BANK: 

close       firm      under      changing      moving      up     footing

vibration     contact     overreach



	Circular Saw



	[image: image9.png]Trigger Switch

Bevel Cutting Angle
Adjustment Knob

Motor Housing

Cutting Depth
Knob

Adjustment

Shoe




1. Wear safety glasses, tie back long hair, and tuck in loose clothing before operating saw.
2. Be aware of the path of the blade and keep the cord away from the blade and kerf.

3. Ensure that depth levers are securely tightened.
4. Set the depth of cut 1/8” to 1/4” greater than the thickness of the stock.  Less than a full tooth should be visible below the work piece.


5. Always rest the larger portion of the saw’s baseplate on the supported portion of the work piece and allow the unsupported portion to fall away.

6. Grip saw with both hands, keeping hands away from the blade.

7. Secure the   to sturdy supports

8. Use the correct blade for your tool. Check this carefully: Does it have the proper size and shape arbor hole?  Make sure the speed marked on the blade is at least as high as the no load RPM marked on the tool.
9. Use clean saw blades. A buildup of pitch or sap on the surface increases the chance of kickback.
10. Support large panels (as illustrated) so they will not pinch the blade. 

11. Use a straight edge or rip fence as a guide for ripping.

12. Avoid cutting small work pieces that can’t be properly secured, and workpieces on which the base of the saw (shoe) cannot properly rest.

13. Portable circular saws are not designed for cutting logs, roots, trimming trees or shrubs.

14. Be very cautious of stock which is pitchy, knotty or warped. These are most likely to create pinching conditions and possible kickback.

15. Check for proper blade guard operation before each cut. The guards should return to their normal position quickly. Never alter or defeat the guard (e.g., tying back or removing the guard).

16. The lower guard should be pulled back manually only for special cuts such as “Pocket Cuts” and “Compound Cuts”. Raise the lower guard using the lower guard lever. As soon as blade enters the material, release the lower guard.

17. Before starting a circular saw, be sure the power cord and extension cord are out of the blade path and are long enough to freely complete the cut. A sudden jerk or pull on the cord can cause loss of control of the saw and a serious accident.  

18. Never hold a work piece in your hand or across your leg when sawing.

19. NEVER overreach! Always, hold the saw firmly with both hands after securing the work piece.
20. Never remove the saw from a cut while the blade is rotating.

21. Be alert to the possibility of the blade binding and kickback occuring. Hold the saw with two hands and position your arms to resist kickback. If a fence or guide board is used, be certain the blade is kept parallel with it.
Never reach under the saw or work piece. The blade is exposed under the work piece and the saw guard cannot protect your body here.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Circular Saw Quiz


	Name:_______________________________

Date:________________



	1. Be aware of the _____________of the blade and keep the cord away from the blade and kerf.
2. Set the depth of cut _________  ____  ________greater than the thickness of the stock.  Less than a _______________tooth should be visible below the work piece.
3. Always rest the larger portion of the saw’s __________________on the supported portion of the work piece and allow the unsupported portion to fall away.
4. Grip saw with _____________hands, keeping hands away from the blade.
5. Support large panels so they will not _________________the blade. 
6. Portable circular saws are not designed for cutting _____________, or trimming trees.

7. Be very cautious of stock which is pitchy, knotty or warped. These are most likely to create pinching conditions and possible______________________.
8. Never hold a workpiece in your hand or ______________ your leg when sawing.
9. Never remove the saw from a cut while the blade is____________________.
10. Never reach _______________ the saw or work piece. The blade is exposed under the work piece and the saw guard cannot protect your body here.

	WORD BANK: 

full      path       both     logs     rotating        1/8” to 1/4”       kickback
baseplate     pinch     across     under


	Modeling Knives

	1. Determine the right tool for the job - there are many different types of blades and utility knifes for different purposes. Use the right knife for the job you are doing.

2. Never use a knife for any other purposes that cutting (e.g., pry or tighten screws).

3. Always use a sharp blade and pick up knives by the handle only.
4. Always wear safety glasses - a blade may break and fly away from the work surface.

5. Use protective cut-resistant gloves when working with modeling knives.

6. Do not grab for a falling knife.  When a knife falls jump back out of the way.

7. Always carry a knife with the tip pointing downward and with the cutting edge turned away from your body.

8. Use a cutting board/matt at all times, never cut on a metal surface.

9. Securely grip the handle of the knife so that it does not slip out of your hands.

10. Firmly hold the material that you are cutting.

11. Keep your fingers as far away from the blade as possible, but be sure to maintain a safe grasp of the material being cut.

12. Avoid using excessive force and trying to make deep cuts. Make several passes when cutting.

13. Keep work area clean and organized. Remove the scraps created from cutting.

14. Use a straight edge when cutting a straight line.

15. As you will need to pull the knife towards you for control and strength, pull in a direction that is to the side of your body.
16. Make sure that your hand is not holding your straight edge at one point. Spread your hand out for more stability. Your hand should never be in the path of the blade.

17. When making a cut on a 3 dimensional piece make sure to use a clamp to hold your work in place. 

18. When not in use, retract a blade on retractable knives or fit the guard if supplied. A knife with no guard should be placed in a way that it cannot roll and that the blade is not pointing at any one.



	AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	Paints, Sealants and Finishes

	1. Always read and follow manufacturer's use and safety instructions.

2. Be sure to read Material Safety Data Sheets (MSDS) and instruction manuals of the product and understand the characteristics well (particularly regarding safety). 

3. Wear approved eye protection.

4. Wear a respirator when spraying finishing materials.

5. Avoid breathing fumes from toxic materials.

6. Wear rubber or vinyl gloves to minimize risk of skin irritations when using a cloth or a pad to apply solvents, bleaches, stains, and finishes and when cleaning brushes.

7. Wash your hands after using any finishing materials.

8. Do all finishing in a well-ventilated area specifically designed for finishing.

9. Make sure the proper types of fire extinguishers are available in the room.

10. Keep the entire area clean and free from spills.

11. Never leave opened finishing materials unattended.

12. Never use tools or machines that can cause sparks or start a fire in the finishing area.

13. Many solvents are extremely flammable. Keep all solvents away from sources of heat, sparks, and fires.

14. Store paint and solvents in their original containers. If, for some reason, this is not possible, be sure the new container's clearly labeled.
15. Spillages of any type should be attended to immediately. Water-based products can be washed away with water before they dry, provided it is permissible. An alternative method is to soak up the spillage with an inert material, which can be placed in a suitably closed container for disposal.

16. All adhesives and sealants should be stored in dry conditions and reasonable temperatures.



	AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR


	Hand Drill



	1. Always wear safety glasses when using a hand drill.

2. Follow manufacturers' instructions when selecting and using a bit or attachment, especially with unfamiliar drills or material. 

3. Select the bit or attachment suitable for the size of the drill and the work being done. 

4. Ensure that the bit or attachments are properly seated and tightened in the chuck. 

5. When changing bits, tighten the chuck securely and ensure you remove chuck key before starting drill.

6. When changing bits in a keyless chuck, DO NOT pull the trigger while holding the chuck.  Rotate the chuck by hand. 

7. Use the auxiliary (second) handle for larger work or continuous operation.

8. Keep drill air vents clear to maintain adequate ventilation. 

9. Always use drill bits that are sharp and turn true (spin straight).

10. Keep all cords clear of the cutting area during use. Inspect for frays or damage before each use. 

11. Disconnect power supply before changing or adjusting bit or attachments. 
12. Secure work piece being drilled to prevent movement
13. Slow the rate of feed just before breaking through the surface. 
14. Drill a small "pilot" hole before drilling large holes. 

15. When cutting small pieces, clamp stock so work will not twist or spin. Do not drill with one hand while holding the material with the other. 

16. Do not exceed the manufacturer's recommended maximum drilling capacities. 

17. Do not use a hole saw cutter without the pilot drill. 

18. Do not attempt to free a jammed bit by starting and stopping the drill. Unplug the drill and then remove the bit from the work piece. 

19. Do not reach under or around stock being drilled. 

20. Do not overreach. Always keep proper footing and balance. 

21. Do not raise or lower the drill by its power cord.
AT ALL TIMES – IF IN DOUBT, SEE YOUR INSTRUCTOR



	Hand Drill Quiz


	Name:_______________________________

Date:________________



	1. Select the bit or attachment ___________________for the size of the drill and the work being done. 

2. Do not reach __________________or around stock being drilled. 

3. When changing bits in a keyless chuck, _________  ____________pull the trigger while holding the chuck.  Rotate the chuck by__________________. 

4. Use the auxiliary (second) handle for _______________work or continuous operation.

5. Always use drill bits that are ___________________and turn true (spin straight).

6. Secure work piece being drilled to prevent _________________________
7. Slow the rate of feed just before _________________ through the surface. 
8. When cutting _______________pieces, clamp stock so work will not twist or spin. Do not drill with one hand while ___________________ the material with the other. 

9. Do not attempt to free a ___________________bit by starting and stopping the drill. Unplug the drill and then ___________________the bit from the workpiece. 

10. When changing bits, tighten the chuck securely and ensure you remove the _________________  ___________ before starting drill.



	WORD BANK: 
sharp      suitable     larger      movement      hand      under     DO NOT

jammed      breaking     holding     remove      small       chuck key


	SECTION 3: SAFETY ASSIGNMENTS AND TESTS


SECTION OVERVIEW

This section contains sample tests and assignments related to safety. They are designed as samples that can be used as written or edited for your purposes. They can be used for evaluation of the safety expectations of the course, or as tools to assess the student’s knowledge and understanding of safety. It is recommended that all teachers keep a record of all test or assignment results and/or passports (next section) as verification of each student’s understanding of safe concepts and practices.

The equipment and safety practices in individual facilities will determine how a teacher can best use these resources in the teaching of safe work practices. As well, with the SafetyNET resources online at OCTElab, there are additional resources always being updated, and available for download in .zip files.

NOTE:

All materials within this document are to be considered as suggestions and recommendations only.  These are not legal documents and are not to be considered as legal requirements or as official policy. OCTE or the individual contributors makes no claim to the accuracy or the completeness of the enclosed documents and accepts no responsibility for any damages pertaining to their use. Users of this document should not assume all warnings and precautionary measures are contained herein, that additional information or measures are not required, or that local by-laws, regulations or Board policies are explicitly included.

Please see specific equipment manuals for further safety information, as well as local, Board and school policies and regulations. Please review exemplar TCJ OCTElab SafetyNET resource documents for experienced teacher tips and customization options for your course projects.

Activity #1 Shop Layout

	Overall Expectation:

A3 – Use correct terminology to describe woodworking materials, tools, equipment.

B1 – Apply a design process and other problem solving processes taking into account safety standards and other relevant factors.


 

Using a ruler, draw a neat floor plan of the construction shop on a separate piece of paper.  On this plan, you must identify the following.  

Check off each item as you go to ensure that you have covered everything: 

Knowledge / Understanding (accuracy)      /30

Communication (labeling)       /20

Practical (drawing)       /25

      (Ensure that all areas of your shop are covered here)

1. Entrance and exit doors

2. Identify safety exits

3. Fire extinguishers 

4. Fire alarm pull station

5. First aid kit

6. Eyewash station

7. Power shut off or emergency stop buttons 

8. Work benches 

9. Hand tool storage area

10. Power tool storage area

11. Student Project storage area

12. Chemicals, paints, solvents storage cabinet

13. Sinks

14. Drill press’

15. Table saw 1

16. Table saw 2

17. Band saw 1

18. Band saw 2

19. Mitre saw 1

20. Mitre saw 2

21. Jointer

22. Surface Planer

23. Scroll saws

24. Drum sander

25. Belt sander

26. Down draft sanding table

27. Router table

28. Dust collector power button

29. Staining table

30. Hardware storage (nails, screws, etc)

Activity #2 – Power Tool Institute ( PTI )
We have found a valuable resource which has been developed by a consortium of power tool companies and they have put together some safety videos and lesson plans for teachers. You can access their website, www.powertoolinstitute.com , to either order a teacher package or you can access the videos directly from their site. There is an online order form for the teacher package which you fill out and then the package is delivered free of charge.

Below is a worksheet that was developed by a teacher and is to be answered while watching the Tablesaw Safety video from the PTI website or DVD which comes with the package.

Power Tool Institute “Table Saw Safety” Video

NAME: _________________________
     1.  When and why do most table saw accidents occur?




       

2. Name the two types of through cuts.

3. Define both and explain how they are performed.

4. Name the three types of non through cuts

5. Define both and explain how they are performed.

6. What is a feather board?

7. What is kick back?

8. What are the major causes of kickback?

9. Where should you be standing when working at the table saw?

10.   What does a guard system include?

Power Tool Institute “Table Saw Safety” Video - ANSWERS
     1.  When and why do most table saw accidents occur?




       

            Not using it properly

2. Name the two types of through cuts.

Rip, and cross

3. Define both and explain how they are performed.

          Rip is you cut with the grain using the fence

         Cross cut is across the grain and you use a mitre gauge

4. Name the three types of non through cuts

          Dado, rabbet, groove

5. Define both and explain how they are performed.

         Dado & groove are used in cabinet construction for more strength. Performed with guard off.

         Rabbet – consisted of 2 cuts. 

6. What is a feather board?

        Is used when ripping wood. Clamped to table saw. Presses the wood firmly against fence

7. What is kick back?

        Kick back is when the piece of board or wood you are cutting on the table saw and it binds or catches and shoots the wood backwards.

8. What are the major causes of kickback?

   Not having the guard on. 

9. Where should you be standing when working at the table saw?

         In front of it so you can push the stock freely.

10. What does a guard system include?

          Blade guard, kick back, and splitter
Activity #3: Machine Equipment and Hand Tool Safety Foldable
	MACHINE EQUIPMENT AND HAND TOOLS SAFETY FOLDABLE

	Each piece of equipment and hand tool that we use in technological education has important safety implications that we need to learn and understand before we can begin using them.  

The purpose of this activity is to create an individual safety foldable for each piece of equipment or tool that you will be required to use throughout the semester.  You will make the foldable as followed:

1. Take an 8 ½ x 11 paper and fold in half horizontally along the short side.   

2. Take a pair of scissors and cut one side of your foldable into three equal parts

3.  Label the three flaps accordingly:

a. Safety Guidelines

b. Machine Diagram

c. Teacher Demonstration/Notes


4. Write the name of the machine/equipment/tool across the top of the foldable.  MAKE IT VISABLE!  (ex. BAND SAW)

5. Under the SAFETY GUIDELINES tab. Write down ten safety guidelines that need to be remembered and followed while using this specific tool.  

6. Under the MACHINE DIAGRAM paste in a picture of machine/equipment/tool.  Label and name all of the parts. (***NOTE**** Teachers will need to take pictures of their machines/equipment/tools and print off a copy for each student at an adequate size to fit the middle tab of the foldable)

7. Under the TEACHER DEMO/NOTES outline the correct operating procedures/how to properly hold and use the tool as demonstrated by your instructor.  

You are developing important mandatory material that will be used and referenced by you throughout the semester. The information sheets must be precise and easy to follow. Material reference information such as equipment manuals provided by the manufacturer can be one of your sources as well as the Internet and the training you received through teacher demonstrations. 

Equipment/Hand Tool list: (ex.)



Due Date (ex.)
Band saw






Tuesday March 10th 

Belt sander

Dremel 

Drill press

Drills (portable)

Hand saws

Hand tools

Hot glue gun

Hot wire foam cutter

Modeling knives (ex. Exacto)

Power Tools

Scroll saw

Staple gun

	NOTE:  this list can be revised and edited to suit individual labs/shops.


	ACTIVITY #4: STUDENT SAFETY WORK SHEET

	For this assignment, you will need a computer and Internet access.  Copy each link and then paste into your browser. Then answer the questions. Once completed, print and submit to your teacher. 

The work is due: _______________________________ 

1. Visit the following link: http://www.labour.gov.on.ca/english/hs/ 

Read, review and provide a brief explanation of this link.

2. Visit the following link: http://www.labour.gov.on.ca/english/hs/pubs/ohsa/index.php  

Read and answer the following questions: 

a. What are the rights of workers? 

b. What are the duties and responsibilities of employers and other persons? 

c. What are the general duties of supervisors? 

d. What are the duties of owners? 

3. Visit the following link:

http://news.ontario.ca/mol/en/2011/04/safety-blitz-to-focus-on-young-workers.html
Read and list two health and safety facts for young workers.




	GENERAL SHOP SAFETY QUIZ

	True or False Questions

1. If you are uncertain about something in the shop, it is okay to ask a peer.

2. All injuries must be reported to the teacher immediately. 

3. Shop equipment needs to be cleaned only at the end of the period each day. 

4. It is okay to bring a drink into the shop as long as none of the equipment is running 

5. Carrying a tool in your pocket is okay as long as you don’t remove it from the class.

6. It is okay to talk to a person while they are using a piece of equipment, as long as you do not distract them.

7. It is okay to use a flat screwdriver to scrape some old paint off of a piece of wood.

8. The first aid kit can be stored in the school main office so no one steals the contents.

9. A class “D” fire extinguisher is a must in a shop.

10. Once you’ve received your equipment certification you may use the equipment any time without permission

11. Minor injuries need not be reported.

12. If a machine does not work, report it to the instructor.

13. At all times, if you are in doubt of how to use equipment, ask someone who is licensed.

14. All guards must be in place and properly working before using the equipment.

15. As long as no one is using the equipment after you, leave it running until you need it again.

16. Safety equipment is necessary only when power is on.

17. A safety zone is an area where shop rules do not apply.

18. Long hair must be tied back before using any power tool.

19. Before working in a shop you should know where the emergency exits are.

20. Any adjustments to a machine must be made with the power off.


	Answer Key

1. F
2. T

3. F

4. F

5. F

6. F
7. F

8. F

9. F

10. F

11. T
12. T

13. F

14. T

15. F

16. F
17. F

18. T

19. T

20. T


	SECTION 4: SAFETY PASSPORTS


SECTION OVERVIEW

This section contains Safety Passports, which provide a means to track individual student safety knowledge and skills. These Safety Passports insure that students have passed the required safety tests and understand the safety procedures and rules specific to the tools and equipment. It is recommended that all teachers keep records of signed passports at all times.

Safety Passports may be signed by teachers, parents and students before working on any workshop machine or tool. Signing signifies completion of safety training and testing.  There are three variations; teachers may select the most appropriate method to suit their needs. Ensure that the selected safety passport addresses board and school safety policies.

Safety Record Card: for individual student, records their proficiency rating for each machine on one sheet.

Safety Passport: Form 1: single sheet for individual student and machine, has signature area and note area to be used in student notebook

Safety Passport Form 2: sheets for individual students listing machines, for teacher record book

Safety Passport Form 3: individual machine for each individual student, has line for parent signature to be used as a safety reinforcement or authorization, (see principal for permissions)

NOTE:

All materials within this document are to be considered as suggestions and recommendations only.  These are not legal documents and are not to be considered as legal requirements or as official policy. OCTE or the individual contributors makes no claim to the accuracy or the completeness of the enclosed documents and accepts no responsibility for any damages pertaining to their use. Users of this document should not assume all warnings and precautionary measures are contained herein, that additional information or measures are not required, or that local by-laws, regulations or Board policies are explicitly included.

Please see specific equipment manuals for further safety information, as well as local, Board and school policies and regulations.

Student Conduct Agreement

Dear Parent/Guardian:

To ensure a safe environment, Students Must:

tc \l3 "Ensure a safe workplace1. Inform teachers of all injuries, damaged tools and dangerous situations no matter how small.

2. Not compromise the safety of others through horseplay or aggressive action.

3. Only use equipment when properly trained, always with any necessary personal protective equipment, and when I fully understand all related safety issues

4. Ask for assistance from the teacher when they are unsure of the proper procedures or health and safety issues.

5. Make sure all fire exits and power shutdown switches are used during emergency situations.

Prescribed and Non-prescribed Medications

tc \l3 "Prescribed and Non-prescribed MedicationsLISTNUM 1 \l 1 \s 1 Report any use of prescription medications and inform teachers of any possible side effects [penicillin, Phenobarbital, etc.] 

2. Report any use of non-prescription medication and any possible side effects of the medication [Reactine, Benadril, any cough syrups, etc.]

3. Never enter a shop or lab carrying, or under the influence of, alcohol or drugs.

Consequences for Improper Action

tc \l3 "Consequences for Improper ActionI understand that failure to comply with this agreement may result in injury to myself

or others, and that failing to comply with safety procedures may result in my removal

from the area, the project ,or the class.

I, ____________________________________ have read these guidelines.  I understand and will obey these rules at all times.

Student’s Signature: _______________________________ Date: ___________

Parent’s Signature: ________________________________ Date: ___________ 

If you have any questions or concerns regarding these policies please contact             (teacher) at 000-000-0000 Extension 000.

tc \l1 "Student Conduct Agreement
Construction Shop Safety Agreement

Dear Parent/Guardian:

The following are the basic rules which the students must be aware of in order to function safely in this technical studies program.  

1.  Power equipment must never be operated unless a qualified teacher is in the shop.

2.  “Horseplay” will not be tolerated in the shop.

3.  Safety glasses must be worn at all times.

4.  Long hair, loose clothing and jewelry must be restrained or removed before entering into the workshop. 

5.  Use care and common sense when using and carrying any tool around the shop.

6.  Never use a machine until you have personally been given instruction by the teacher about the use of that machine.  If you are absent when instruction was given about the safe operation of the machine, you must check personally with the teacher for this information when you return.

7. Students must obey all the safety rules and guidelines for the machines in the shop, as well as general classroom rules.  

8.  All cuts and scratches must be reported to the teacher, and treated.

9.  Use compressed air with caution. Wear eye protection and direct air away from eyes, skin and any part of the body.  Be aware of flying particles.  

10.   Only one operator per machine is permissible, do not crowd around machines.

IF A STUDENT IS A DANGER IN THE CLASSROOM, HE/SHE WILL BE REMOVED FROM THE WORKSHOP!
I, ____________________________________ have read these guidelines.  I understand and will obey these rules at all times.

Student’s Signature: _______________________________ Date: ___________

Parent’s Signature: ________________________________ Date: ___________ 

If you have any questions or concerns regarding these policies please contact             (teacher) at 000-000-0000 Extension 000.

Student Safety Record

	Student Information
	Levels Chart

	Name:
Date :

Course: 
	Level 1: May set-up equipment only, Instructor must do the work. 

Level 2: Use only with an Instructor’s assistance.  

Level 3: Full use with an Instructor standing by to supervise. 

Level 4: Full use of machine with an Instructor’s permission.

(Note: Lower levels can be upgraded to higher levels with further instruction, practice and proof of competence. All students must have Instructor’s permission before using any equipment.)



	Stationary Equipment

	Hand & Assembly Equipment

	Equipment
	Leveltc \l5 "Level
	Sig.
	Date
	Equipment
	Level
	Sig.
	Date

	Band Saw
	1
	
	
	Biscuit Cutter
	1
	
	

	Scroll Saw
	1
	
	
	Hand Drill
	1
	
	

	Drill Press
	1
	
	
	Router
	1
	
	

	Disk/Belt Sander
	1
	
	
	Circular Saw
	1
	
	

	Lathe
	1
	
	
	Jig Saw
	1
	
	

	Miter Saw
	1
	
	
	Hand Jointer
	1
	
	

	Grinder
	1
	
	
	Finish Sander
	1
	
	

	Thickness Planer
	1
	
	
	Orbital Sander
	1
	
	

	Jointer
	1
	
	
	Belt Sander
	1
	
	

	Table Saw
	1
	
	
	Chisels
	1
	
	

	Router Table
	1
	
	
	Hand Saws
	1
	
	

	(list all tools)
	
	
	
	Hand Planes
	1
	
	

	
	
	
	
	Files/Rasps
	1
	
	

	
	
	
	
	Spoke Shave
	1
	
	

	
	
	
	
	(list all tools)
	
	
	

	
	
	
	
	
	
	
	


It is the responsibility of the student to insure that prior to using any piece of equipment they have been signed off at the appropriate level.

All students in grades 9, 10, 11 and 12 are assumed to be at a level 1, they must complete a practical test before moving levels. This document is to keep in your file at the front of the class all semester.

Technology Lab Safety Passport

The purpose of the safety passport is to ensure that students are fully aware of all safety features on each piece of equipment in the technical facility prior to using them independently.  

The general process is as follows:

1.
Teacher Demonstration: When the teacher introduces a new piece of equipment, the student records the date of the safety demonstration on their safety passport. This is to be initialed by the teacher (see sample below). The teacher demonstrates techniques for the safe operation and procedures, as well as use of personal protective equipment (e.g. eye protection, secure loose hair, remove jewelry, protective clothing, etc.). Students prepare notes in their notebooks. This safety note is carefully recorded in each student’s notebook along with the signed passport. The teacher also carefully notes attendance for that day in their daybook if any students are absent for the safety lesson; makeup opportunities must be provided.


2. Test: Each student should complete a written (or oral) test on the safe operation or procedure, outlining all safety features that must be observed. The individual tests are designed to complement any general facility safety rules. Upon satisfactory completion of the test the student dates the “tested” column and teacher initials this as complete. IMPORTANT NOTE: A copy of the test should be kept by the teacher.
3. Student Demonstration: Students must demonstrate to the teacher that they have a thorough knowledge of the safety rules for the equipment and are able to demonstrate their competency on the equipment. Once the teacher has observed the required safe setup and operation of the equipment by a student the teacher signs off that portion of their passport. 

4. Once the student has completed #1, 2 and 3, the teacher signs the final column of student’s safety passport indicating they have permission to use that equipment or perform the procedures. Students must be able to provide the teacher with their signed passport for that equipment each time they wish to use that equipment.  

Note: Three forms are provided, Form 1 can be used as a student notebook form for each machine; Form 2 can be used for signing several machines per student. With the 2nd form, students keep safety notes on separate paper. The third form requires one sheet per tool per student, and may be used in the student notebook or kept on file by the teacher (or both).


Form 1- Teacher Copy

Student Name:
______________________ Course/Class: 


	Equipment/Procedure: _____________________________


	Attended Teacher Safety Instruction and Demonstration

(Notes recorded)
	Passed Written or Oral Testing
	Demonstrated Safe Set-up and Operation to Teacher


	Granted Permission by Teacher

	Date of

Lesson
	Teacher Initial
	Date 

Tested
	Teacher Initial
	Date of Demo.
	Teacher Initial
	Date
	Teacher

Initial

	
	
	
	
	
	
	
	


	Equipment/Procedure: _____________________________


	Attended Teacher Safety Instruction and Demonstration

(Notes recorded)
	Passed Written or Oral Testing
	Demonstrated Safe Set-up and Operation to Teacher


	Granted Permission by Teacher

	Date of

Lesson
	Teacher Initial
	Date 

Tested
	Teacher Initial
	Date of Demo.
	Teacher Initial
	Date
	Teacher

Initial

	
	
	
	
	
	
	
	


	Equipment/Procedure: _____________________________


	Attended Teacher Safety Instruction and Demonstration

(Notes recorded)
	Passed Written or Oral Testing
	Demonstrated Safe Set-up and Operation to Teacher


	Granted Permission by Teacher

	Date of

Lesson
	Teacher Initial
	Date 

Tested
	Teacher Initial
	Date of Demo.
	Teacher Initial
	Date
	Teacher

Initial

	
	
	
	
	
	
	
	


Form 2: Equipment/Procedure Passport

	[EQUIPMENT/PROCEDURE]

	General Conditions



	Personal Protective Equipment 



	Possible Risk Factor


	· The student has been trained on this equipment and procedure.

· The student understands the required personal protective equipment to operate this equipment and perform this procedure.

· The student is aware of the possible risk factors


Student signature

________________________________


Teachers signature
________________________________


Date of training

________________________________




Form 3 – Internet Use Passport
	INTERNET USE PASSPORT

******TO BE USED AS AN EXAMPLE ONLY – PLEASE SEE BOARD/SCHOOL POLICY*****

	General Conditions

Students must be trained on the safe and proper use of the Internet before they may begin using it.  The student must demonstrate to the teacher, knowledge of safe and secure procedures as outlined in the Internet Use Policy Document.  

	Personal Protection
· Knowledge of school and school board Internet Use Policy 

· Never releasing personal information

· Avoidance of insecure and questionable sites

· Respect for self and others

· Awareness of security issues in communications technology



	Possible Risk Factor
· Threats to personal safety and/or security

· Loss of privacy


· Threats to emotional security

· Spread of damaging computer viruses

· Damage to computer operating and networking systems



	· The student has been trained on this equipment.

· The student understands the required personal protective equipment to operate this equipment.

· The student is aware of the possible risk factors


Student signature

________________________________


Teachers signature
________________________________


Date of training

________________________________




	APPENDIX A: HEALTH AND SAFETY RESOURCES


WorkSmartOntario! 

http://www.worksmartontario.gov.on.ca
Is the official website of the Ontario Ministry of Labour for young workers and new workers.  Utilize this website to find out how to be safe at work.  Find out how to be treated fairly!  Includes key information on: My Health and Safety at Work, My Employment Standards and I’ve Got a Problem – What Do I Do Now?

Workplace Safety and Insurance Board

http://www.wsib.on.ca
Legislated by the Ontario government and responsible for administering the Workplace Safety and Insurance Act (WSIA). Governed by a Board of Directors made up of representatives of workers, employers and others.

Under the Resources tab, this website provides information on how WSIB make decisions, by reviewing the Operational policy manual, Employer Classification Manual, and Adjudication support documents. You’ll also find useful forms and fact sheets on a variety of topics, including benefit payments, and rights and responsibilities.  

· Fact Sheets are also available:

· Fact Sheets for Workers

· Fact Sheets for Prevention

· WSIB Fact Sheets


Workplace Safety Resources Inc. 

http://workplacesafetyresources.ca
This site provides a personalized approach to planning for safety.  Workplace Safety Resources Inc.’s mission is to create healthy, safe, secure and environmentally responsible workplace, to work with industry to better protect all employees, to improve the quality of life in workplaces and communities and become a recognized leader in providing effective safety programs, products and services for the prevention of injury and illness.   

Canadian Centre for Occupational Health and Safety

http://www.ccohs.ca/resources
The Free Resources section is a collection of websites, databases, and other online resources suggested and reviewed by CCOHS. Many of the websites are designed and maintained by CCOHS, while some of the resources are provided by external, third-party providers.

Purpose

· Promote the importance of workplace health and safety in Canada

· Identify current and reliable health and safety information

· Create and maintain an accessible, convenient, and easy-to-use resource to anyone who needs it

· Provide access to information from a variety of sources including federal, provincial, and territorial governments, agencies, and non-profit organizations

Target Audience

The Free Resources are useful to workers, employers, managers and supervisors, joint health and safety committees, workplace health and safety professionals, and students.

HEALTH CANADA

http://www.hc-sc.gc.ca   

Health Canada is the Federal department responsible for helping Canadians maintain and improve their health, while respecting individual choices and circumstances. 

Health Canada administers many pieces of legislation and develops and enforces regulations under this legislation that have a direct impact on the health and safety of Canadians. The Department consults with the Canadian public, industry, non-governmental organizations (NGOs) and other interested parties in the development of these laws. Health Canada also prepares guidelines in order to help interpret and clarify legislation and regulations.

Of particular interest would be regulations such as the Hazardous Product Act, Controlled Products Regulations, Environmental and Workplace Health.

HEALTH & SAFETY ONTARIO (HSO)

http://www.healthandsafetyontario.ca/HSO/Home.aspx 

Ontario is already a great place to do business, live and work. Making our province, and indeed our country, the healthiest and safest place to work in the world is a prize worth winning. 

Ontario’s Prevention System is made up of the Ministry of Labour (MOL), Workplace Safety and Insurance Board (WSIB), Workers Health & Safety Centre, Occupational Health Clinics for Ontario Workers Inc. and 12 Health and Safety Associations (HSAs).

Health & Safety Ontario (HSO) is the result of a bold move to reorganize the independent efforts of 12 health and safety associations into four streamlined organizations to better serve more than 236,000 Ontario businesses. 

HSO is comprised of:
· Workplace Safety & Prevention Services
· Public Services Health & Safety Association 
· Workplace Safety North 
· Infrastructure Health & Safety Association.
ONTARIO BUILDING CODE

http://www.mah.gov.on.ca/Page7393.aspx 

The Ontario Building Code’s website has information on qualification and registration, available training, dispute resolution, news on recent code developments and more. The Ontario Building Code is administered by the Building and Development Branch of the Ministry of Municipal Affairs and Housing. 

CANADIAN STANDARDS ASSOCIATION (CSA)

http://www.csagroup.org 

Standards contribute to safer homes, workplaces and public spaces. They address issues related to sustainability and the environment. And they encourage the adoption of new technologies and best practices that enhance trade and help make industry more competitive in the global marketplace. Standards help advance today, while anticipating tomorrow.

CANADIAN SOCIETY OF SAFETY ENGINEERING (CSSSE)

http://www.csse.org/ 

The Canadian Society of Safety Engineering (CSSE) is the leading health, safety and environmental organization for professionals in Canada. They work with industry, governmental agencies, and other safety organizations to promote a greater awareness of health, safety, and environmental issues in workplaces and communities across the nation and around the world. Our vision is "An Advocate for Safety in Every Workplace".

CSSE’s mission is to be the resource for professional development, knowledge and information exchange to our members, and the Canadian public.

PROFESSIONAL ASSOCIATIONS
Professional Associations can be a great health and safety resource relating to discipline specific occupational health and safety. The following Tech Design related associations provide resources on professional practice relating to health and safety.
Professional Engineers of Ontario (PEO)…… www.peo.on.ca/
Architectural Association of Ontario (OAA)….. www.oaa.on.ca/ 
Ontario Certified Engineering Technicians and Technologists (OACETT)….. www.oacett.org/ 
Association of Registered Interior Designers of Ontario (ARIDO) ….. www.arido.ca/ 

Live Safe! Work Smart! Grade 9/10 and Grade 11/12 

http://www.livesafeworksmart.net 

Written by health and safety professionals, produced by the Ministry of Labour in partnership with the Ministries of Education and Training, Colleges and Universities, Live Safe! Work Smart! provides the only comprehensive resource for Ontario teachers developed to match health and safety curriculum expectations from Grades 9 – 12.  It has received top marks from the Ontario Curriculum Center.  Reviews can be viewed on the OCC website: (www.curriculum/occ/resources.org).  Within the two-volume set are lessons, overheads, handouts and exercises well suited to cooperative education and apprenticeship.  

Binders and CDs have been distributed to all secondary schools in Ontario.  If you can’t locate either, check the website at www.livesafeworksmart.net for who to contact in your Board to get more information on your local resources, or to order a CD of your own.  If you don’t have access to the web, you can place an order by calling 1-800-268-8013.

http://www.edu.gov.on.ca/eng/studentsuccess/pathways/files/septNews.pdf
http://www.livesafeworksmart.net/english/grade%209-12/course_streams.htm
http://www.livesafeworksmart.net/english/special_needs/index.htm
Ontario Ministry of Labour

Web address: http://www.labour.gov.on.ca/english/
For news and information about Ontario’s health and safety and employment legislation, the Ministry of Labour’s website is an excellent place to visit.  It provides current information on both employment standards and health and safety legislation, recent fines, alerts, etc. and allows you to ask a question that will be answered by Ministry staff.  To directly access information for students, use the web address: http://www.worksmartontario.gov.on.ca/scripts/default.asp  or http://www.labour.gov.on.ca/english/es/pubs/factsheets/fs_young.php
This section of the Ministry of Labour website ensures that students are aware of their rights and obligations and their employer’s rights and obligations under the Occupational Health and Safety Act and the Employment Standards Act.  It includes: young worker safety education information; information for working students – know your rights and obligations; information for new workers and students working in Ontario; fact sheets for employees; your guide to the Employment Standards Act; and links to related websites.

Workplace Safety and Insurance Board

http://www.wsib.on.ca 
Contains information for both employers and employees about workplace safety. Includes advice on prevention, important news releases, policies and other work-related information. 

http://www.wsib.on.ca/en/?in_tx_query=students&in_hi_space=SearchResult&in_hi_control=bannerstart&cached=false&in_hi_req_apps=1&in_hi_req_objtype=18&in_hi_spell=1&in_hi_req_ddfolder=595&in_hi_req_subfolders=1&num=25&search.x=57&search.y=15
http://www.wsib.on.ca/en/community/WSIB/230/ArticleDetail/24338?vgnextoid=52bfe1880bc5c210VgnVCM100000469c710aRCRD&vgnextchannel=a7620b368d5dd110VgnVCM1000000e18120aRCRD 

http://www.wsib.on.ca/en/community/WSIB/230/ArticleDetail/24338?vgnextoid=8f7d3260ffc88210VgnVCM100000469c710aRCRD
Ontario School Boards Insurance Exchange

http://www.osbie.on.ca 
The primary goals of the Exchange are to insure member school boards against losses, and to promote safe school practices. The Ontario school “Risk Management at a Glance” material is intended to provide guidance and direction in the major risk management areas facing school administrators, principals, vice-principals, teachers and all other school staff on a daily basis.

http://www.osbie.on.ca/risk-management/
http://www.osbie.on.ca/risk-management/#resources
http://www.osbie.on.ca/risk-management/presentations/presentation-form.aspx
Although this reference material is not intended to replace school board policies and procedures, it is intended to supplement the risk management considerations, which should go into making the decisions on the most common day-to-day school activities. The design of this publication is to promote the display of this document in a calendar-like format in every classroom to facilitate ready “Risk Management at a Glance”. Every employee who may be called upon to make a decision about the permitting of or the organizing of any activity listed can use this.

For any activities not listed in this material, it is recommended that you contact your board office, or refer to the policies and procedures as stated by your school board.
North American Occupational Safety and Health (NAOSH) Young Worker Links

http://www.csse.org/naosh_week/naosh_week_network.htm
Summary: Includes links to occupational safety and health related websites, as well as other youth resources.

Take Our Kids to Work – Teacher’s Guide; Workplace Guide

The Learning Partnership

http://www.tlp.on.ca
These resources have been custom designed to help teachers and workplaces prepare for Take Your Kid to Work day.  The new booklets have an excellent section on activities to help prepare the students for a safe learning day.
	APPENDIX B: OCTE SAFETYNET BLANK TEMPLATE


Overview

A sample of a blank SafetyNET template provided by the Ontario Council for Technology Education as well as their Materials and Resources sheet has been provided here as an additional resource for computer technology teachers. 

Completing it once for a risky project can take teachers through a pre-project planning process, a review of the materials in their shops, the suppliers and processes they use, and encourage documentation of their safety training for themselves, their students, and classrooms. It collects safety information in one place for their own use, and respects their experience, pedagogy, and professionalism. It’s a crucial step in standardizing safety training in your technology program at your school, and can assist in collegial communication in your department.

Please note that the online updated version is available at www.octelab.com, however any teacher that considers and documents their answers to the questions will have created an important document for their personal professional practice. It’s also available in fillable .pdf format, and is also available in French from OCTE

Establishing A Safety Binder


The goal is a safety binder that teachers keep in their rooms as evidence of due diligence taken towards safety in the classroom. 

Assembled safety binders often include teacher/room/board specific:

· •SafetyNET Template

· •Project Specific Safety Resources

· •MSDS Sheets

· •Student Safety Training Tracking Sheets

· •Permission Forms Copies

· •Class Lists

· •Equipment Maintenance/Manuals

· •Training Quiz Samples

· •Teacher Training Documentation Copies

· •Emergency Procedures Docs

· •Board Repair Contacts
·  Room Safety / PPE Location Map

 Starting Your SafetyNET 

TCJ Subject Area:  Tech department heads can provide leadership asking teachers to consider the following questions to choose a focus for completing their own SafetyNET. 

· What are the most risky projects I do in my classroom? (List them here.) 

· What ones of these use the riskiest materials?  

· Which ones of these use the highest risk-associated equipment?  

· Which ones of these include recycled, found, repurposed, or donated materials? 

· Which one of these is the hardest to train and track the kids for safety on?  

· Reflecting on this listing, which project do you think you may want to do a SafetyNET on?  

· What resources of mine would make it easier - instructive for another teacher to try this project?  

· What would be the best “safety lens” advice I could give for another teacher from my experience?

Then try it out!
	SafetyNET Lesson Plan 


SafetyNET STEP 1: Tell Us About You

First Name: _________________________________

Last Name: _________________________________

E-mail Address: ______________________________

Ontario School Board: _________________________

School: _____________________________________

Community 

[image: image10.wmf]Urban

[image: image11.wmf]Suburban

[image: image12.wmf]Rural

Number of Students:

Student Work is Completed (individually, pairs, groups, mixed methods)

[image: image13.wmf]

Mixed

 

Methods


[image: image14.wmf]
I agree to the Terms and Conditions and have read the Teacher Guidelines.

SafetyNET STEP 2: Describe Your Lesson
Classroom Management Pre-Planning
1. Provide a descriptive title for your learning activity. 

[image: image15.wmf]


2. Choose the length that best describes your lesson.

[image: image16.wmf]Full semester

[image: image17.wmf]Multiple weeks

[image: image18.wmf]One week

[image: image19.wmf]One period

3. Choose the Ontario course code (e.g.). 

[image: image20.wmf]

TEJ

 

-

 

Computer

 

Engineering


4. Provide learning goals of the activity. 

Names of Resource Files Included: (Please format as .pdf where possible.)

5. Generally describe your classroom lab setup with main equipment and areas.

6. There is a link here to your subject area's full Overall and Specific required Ministry Expectations. Click here for safety expectations summarized for each tech course code. These will create a pop-up window for copying and pasting into the field below. Copy and paste some safety expectations your lesson will cover.

7. There may also be local by-laws or staff guidelines applicable to your school community in general that affect how you teach your subject area for health and safety. Being in an urban or rural environment can offer unique challenges to a technological education program. Your department or school may also have a health and safety manual you can attach as a file later. Include any details or best practices here on what you refer to.

8. Coming from industry and experience as a technological educator, there is prior teacher knowledge that you would recommend for your classroom, focused on health and safety. Include information on recommended certifications for your subject area.

9. Many teachers use these as a basis of training for prior student knowledge. Check off which ones you use currently. A pop-up window is available through these links.

[image: image21.wmf]Passport to Safety

[image: image22.wmf]Introduction to WHMIS

10. Prior to specific project work, describe your general introductory unit on health and safety in your classroom.

11. Check off what Personal Protective Equipment may be applicable in your classroom in general for health and safety. 

[image: image23.wmf]safety glasses (shatterproof - may need side guards)

[image: image24.wmf]coveralls / lab coat / apron (protective clothing)

[image: image25.wmf]gloves (latex and standard)

[image: image26.wmf]gloves (chemical resistant)

[image: image27.wmf]welding gloves and face shield

[image: image28.wmf]dust mask (breathing protection)

[image: image29.wmf]respirator (breathing protection)

[image: image30.wmf]appropriate footwear (may imply steel-toed work boots or closed toe and heel shoes)

[image: image31.wmf]hair net

[image: image32.wmf]hair tied back

[image: image33.wmf]hearing protection - ear plugs

[image: image34.wmf]removing jewellery and fashion accessories

[image: image35.wmf]hard hat

[image: image36.wmf]safety harness

[image: image37.wmf]reflective vest

[image: image38.wmf]no electronic devices

12. Describe your student safety training assessment strategies. Click here for a pop-up to review the Growing Success document that defines assessment for learning and as learning. 

13. Some technological classroom areas are more complex and need layout planning, maintenance, and special resources available, especially when sharing rooms. Detail general housekeeping, organization standards and student clean-up procedures from your experience. 

14. Detail safe storage facilities in your classroom for course specific materials.

15. Explain any special learning considerations and best practices for your classroom focused on safety. Are there left-handed students in your class? You may naturally include accommodations and modifications. Showcase special approaches or methods you use for exceptional students, multiple-intelligences, differentiated instruction, ESL, gifted, or physically-challenged students.

16. Include information on your safety procedures for disposal of waste materials. This could include food scraps, hairstyling chemical, dust collection, combustible wipes, or waste oil.

17. Company's coming! Educational Assistants, volunteers, student teachers, and classroom guests with administrators are in your classroom. Provide your experience on elements of safety training that need to be communicated to these participants for your subject area such as wearing safety glasses, maintaining distance from machines, or how to communicate an emergency or issue to the teacher. 

18. Emergency procedures to pre-plan in general for your technological education classroom depends on your subject area. There may be steps for students, steps for administration, for assisting teachers, or directions for emergency assistance arriving at school. Detail how you cover these in your classroom. Include fire exits, extinguishers, first aid station, eye wash station, and electrical shut-off switches (panic buttons). Possibly detail AED location (if available) and first aid trained staff member locations for your records. 

19. Does your Board have a technological project approval process?

[image: image39.wmf]Yes

[image: image40.wmf]No

[image: image41.wmf]Unknown
20. Select (all that apply) that complete equipment inspections in your board.

[image: image42.wmf]Teacher

[image: image43.wmf]Department Head

[image: image44.wmf]Board Instructional / Subject Area Leader

[image: image45.wmf]Board Facilities Teams

[image: image46.wmf]Independent Contractors

[image: image47.wmf]Ministry of Labour

21. Select Federal and Provincial Safety Legislation and Policies, Government Departments, and Associations which may be applicable to your subject area. Click on any of them to open up a pop-up window to reference their website. Consider adding any resources you find to your lesson. 

[image: image48.wmf]Health Canada

[image: image49.wmf]Ministry of Labour

[image: image50.wmf]Ontario Workplace Safety and Insurance Act

[image: image51.wmf]Food Safety and Quality Act

[image: image52.wmf]Ontario Health Protection and Promotion Act

[image: image53.wmf]Ontario Highway Traffic Act

[image: image54.wmf]Ontario Fire Code

[image: image55.wmf]Ontario Building Code

[image: image56.wmf]Workplace Hazardous Materials Information System (WHMIS)

[image: image57.wmf]Workplace Safety and Insurance Board (WSIB)

[image: image58.wmf]Occupational Health and Safety Act (OSHA)

[image: image59.wmf]Apprenticeship and Certification Act (ACA)

[image: image60.wmf]Canadian Standards Association (CSA)

[image: image61.wmf]Canadian Society of Safety Engineering (CSSE)

[image: image62.wmf]Ontario Service Safety Alliance (Hospitality and Tourism) (OSSA)

[image: image63.wmf]Canadian Centre for Occupational Health and Safety (CCOSH)

[image: image64.wmf]Construction Health and Safety Association of Ontario (CSAO)

[image: image65.wmf]Ontario School Boards Insurance Exchange (OSBIE)

[image: image66.wmf]Industrial Accident Prevention Association (IAPA)

[image: image67.wmf]Transportation Health and Safety Association of Ontario (THSAO)

[image: image68.wmf]Health Care Health & Safety Association of Ontario (HCHSA)

That's the end of general classroom management info. You can copy and paste the content from this section to any project you submit to the SafetyNET. 

That's So Cool! When Do We Start? 
22. Check off planning tasks you complete for this lesson. 

[image: image69.wmf]examine materials list (new, used, recycled materials)

[image: image70.wmf]review tool use plan (power and hand tools)

[image: image71.wmf]consider special preparation of recycled materials for this project.

[image: image72.wmf]review hazardous materials use - WHMIS, MSDS (attach files later)

[image: image73.wmf]safety check on specific equipment

[image: image74.wmf]review chemical and fire safety procedures

[image: image75.wmf]prepare tools

[image: image76.wmf]count or measure materials, evaluate efficiencies

[image: image77.wmf]check 'past due' dates on supplies

[image: image78.wmf]check student-accessible material supply areas are safe

[image: image79.wmf]re-do a safety demonstration

[image: image80.wmf]confirm all students completed training diagnostic assessment

[image: image81.wmf]confirm web resources and handouts are current

[image: image82.wmf]reconsider assessment and evaluation strategies

[image: image83.wmf]plan direct supervision time for difficult or high-risk production steps

[image: image84.wmf]plan direct supervision for flammable / toxic / corrosive materials handling

[image: image85.wmf]plan safe storage of in-progress student projects

[image: image86.wmf]plan cut off times for lab cleanup to begin

[image: image87.wmf]plan waste disposal, recycling

[image: image88.wmf]plan debrief on safety risk experiences with students

[image: image89.wmf]detail notes for teacher sharing classroom/lab

23. The Ontario Skills Passport identifies working safely as a work habit. Check off the skills relevant for this lesson here. For more information click here to go to their website.

[image: image90.wmf]Work Habits: Working Safely

[image: image91.wmf]Work Habits: Teamwork

[image: image92.wmf]Work Habits: Reliability

[image: image93.wmf]Work Habits: Organization

[image: image94.wmf]Work Habits: Working Independently

[image: image95.wmf]Work Habits: Initiative

[image: image96.wmf]Work Habits: Self-advocacy

[image: image97.wmf]Work Habits: Customer Service

[image: image98.wmf]Work Habits: Entrepreneurship

[image: image99.wmf]Essential Skills: Reading Text

[image: image100.wmf]Essential Skills: Writing

[image: image101.wmf]Essential Skills: Document Use

[image: image102.wmf]Essential Skills: Computer Use

[image: image103.wmf]Essential Skills: Oral Communication

[image: image104.wmf]Numeracy: Money Math

[image: image105.wmf]Numeracy: Scheduling or Budgeting and Accounting

[image: image106.wmf]Numeracy: Measurement and Calculation

[image: image107.wmf]Numeracy: Data Analysis

[image: image108.wmf]Numeracy: Numerical Estimation

[image: image109.wmf]Thinking Skills: Job Task Planning and Organizing

[image: image110.wmf]Thinking Skills: Decision Making

[image: image111.wmf]Thinking Skills: Problem Solving

[image: image112.wmf]Thinking Skills: Finding Information

24. The Ontario Skills Passport (OSP) National Occupation Classification (NOC) code is a number that Human Resources and Skills Development Canada (HRSDC) has assigned to a particular occupation. To make safety training more relevant to students, check here and copy an example of career choice that has to be aware of the same classroom safety requirements.

25. Detail instructional strategies and assessment strategies for focusing on safety during this learning activity. Consider any IEP considerations applicable in your classroom.

26. Define the materials and equipment used for this learning activity. You can use the blank form that's provided here and save it to make it your own. The layout helps you collect details showing the materials and equipment. It also provides space for equipment maintenance schedules, disposal of waste materials, training tracking, shielding or guarding details. 

27. Include any best practices or tips, tricks, and advice in your experience of completing this learning activity. Focus your answer on how you document safety training, and share information about your shop with other tech teachers. That’s an OCTElab SafetyNET!

28. Provide a short description of your project that can go with a reference image for the database. (Max 256 characters.) 

SafetyNET STEP 3: Add Files and Videos
Please attach a project image for us to display with your short description in the database. Please upload any supporting documents including safety components, lesson materials, assessment tools, digital resources, images, or videos.  To bring your lesson to life, include online videos URL link files on the lesson plan page. Add as many as you like. 

Do you have a safety features map of your classroom you can share? Attach it here! 

Find the Material Safety Data Sheet (MSDS) for any of your materials clicking and searching here. Save it and add it to your digital resources to attach with your lesson.

The Ontario Ministry of Labour makes available a resource named Live Safe! Work Smart! It has a wide range of general safety and subject-specific resources available for use in the classroom and beyond. Click here to open a pop-up and copy and paste links that are your favorites here or download a resource you can use with this lesson and attach it later. You can also add any other URL links here that you think enhance this safety learning activity. 

SafetyNET STEP 4: Tag Your Lesson
Add your own descriptive tag(s) to help users search for content like yours. Print your lesson to document your SafetyNET for your classroom. Submit your SafetyNET lesson.  Plan to update lesson content or add digital resources later with your user login. Think about adding another lesson!  Remember, most of your general classroom info is already in.  You can 'Save As' and 'Modify' to submit a new lesson with new resources!

OCTElab SafetyNET – Materials, Physical Resources Planning Sheet

Teachers can copy and add rows to this blank form to address specific project needs and include it in their safety binder.

PROJECT / LEARNING ACTIVITY TITLE:
 
COURSE CODE AND TITLE: 



VERSION PREPARED DATE: 



SUBMITTED BY: 




CONTACT:  




MATERIALS LIST 

	MATERIAL
	QUANTITY
	DESCRIPTION
	SOURCE
	WHMIS
MSDS ATTACHED
	SAFE STORAGE 
	WASTE DISPOSAL

	
	
	
	[     ] new, purchased

[     ] new, donated from community, industry

[     ] recycled from inside school

[     ] recycled from outside school

PREPARATION REQUIRED FOR USE:

DETAILS:


	[    ] Y

[    ] N


	
	


PHYSICAL RESOURCES USED 

	EQUIPMENT, TOOL, MACHINE
	SUBJECT – SPECIFIC NEEDS
	INSPECTED FOR SAFETY FEATURES
	STUDENT TRAINING PLAN IDENTIFIED
	MAINTENANCE
SCHEDULE

	NOTE: TEACHER EXPERIENCE AND SAFETY PROFICIENCY IS ASSUMED. 

DETAIL EQUIPMENT: 

MANUAL APPLICABLE  / AVAILABLE

(LOCATION): 


	MACHINE GUARDING AND SHIELDING APPLICABLE

[      ]  YES

[      ]  NO

[      ]  N/A

EMERGENCY STOP / PANIC BUTTON APPLICABLE

[      ]  YES

[      ]  NO

[      ]  N/A

LOCK-OUT TAG APPLICABLE

[      ]  YES

[      ]  NO

[      ]  N/A

OTHER (SUBJECT-SPECIFIC)

[      ]  YES

[      ]  NO

[      ]  N/A
	[     ] Teacher

DATE:

__________

[     ] Board 

DATE: 

__________


	DETAIL STEPS: 

Student attended teacher safety instructions, lessons, demonstration(notes recorded)

Student passed oral or written assessment (test)

Student demonstrated safe setup and operation of equipment to teacher

Student prepared  and delivered power point presentations on all class tools and machines

Student granted permission to use equipment

SIGNAGE: 

safety sign posted 

RESOURCES: 

safety lesson

tool safety video

tool power point presentation

manual

FREQUENCY OF RETRAINING ADVISED: 

Students should be re-trained every semester

Safety passports expire at the end of every semester
	DAILY: 

WEEKLY:

MONTHLY:

ANNUALLY:

CONTACT FOR REPAIR: 




The Ontario Council for Technology Education wishes to acknowledge the contribution of the individuals that participated in the development of the Emphasis Course Resources.
Health and Safety Resources and Curriculum


These resources identify safety rules associated with hazards and processes. They are applicable to a wide range of occupations and situations.


e.g.  Occupational Health and Safety Act,1990 ,Live Safe! Work Smart!�


Based on the Ontario curriculum this resource contains safety lessons for technology subjects





Classroom Safety Resources


These resources identify safety policies and procedures that ensure the safety of people in schools ( e.g. WHMIS Training Sessions, Board Safety Policies, etc)


SAFEdocs- These resources provide a framework for developing safety procedures in school classrooms�It is highly recommended that all teachers complete an OCTE SafetyNET template for their individual experience / program / classroom / school / board. This is an excellent starting point for self-reflection and preparation for MOL/MOE inspection. 





Equipment and Hazard-Specific Safety Rules


These resources are Just-in-Time (JIT) safety rules. They are applicable to specific equipment in the facility and may apply to specific hazards associated with a program emphasis.





These rules are developed at the classroom/school level to implement safe work practices. They may be adapted from a variety of sources including equipment manufacturer’s manuals.  A summary is often posted near equipment.





Safety Management


The teacher develops these resources. The daily classroom safety routines and policies are based on the above safety resources and applied to each individual facility/classroom. Protocols developed to teach safe behaviour directly should include managing safe work practices and behaviour through demonstration and reinforcement of safe working procedures, establishment of clear safety rules, safety passports, assignments, quizzes, and research.��Again, it is highly recommended that teachers complete a SafetyNET template to review their unique projects and procedures and consider risks as advised by OSBIE, and other professional health and safety partners. 












Page 1
PAGE  
FAB SAFEdoc
Page 2 of 116

