Instrumentation Information Sheet

Picture of sensor

Pinout Diagram

Instrument Name

Temperature-humidity sensor

Instrument Part Number/Component ID

DHT22 (also AM2302)

Used for measuring?

Air temperature, air humidity

Supply voltage (Vcc)

3.3V-6V DC

Communication type (digital, analog, IC2, etc.)

digital

Sensing Element

Thermistor and capacitive humidity sensor

Required engineering unit conversions

None…included in sensor

Measurement Range

Temp:-40C to 80C, Humidity: 0-100%

Accuracy

Temp +/- 0.5C. Humidity: +/- 2%

Additional library required (if yes, location)

Yes, dht.h, https://github.com/adafruit/DHT-sensor-library

Notes DHT11 is lower cot, less sensitive sensor